## summary
case | RG1_capacity_MW | RG2_capacity_MW | RG3_capacity_MW | total_RG_capacity_MW | RG_capacity_to_peak_load | RG_capacity_to_peak_load_pct | ES_total_power_MW | ES_total_energy_MWh | ES_power_to_peak_load_pct | load_peak_MW | load_energy_MWh | renewable_available_MWh | renewable_available_to_load_energy_pct | renewable_used_MWh | renewable_used_to_load_energy_pct | curtailment_MWh | curtailment_ratio_pct | max_renewable_MW | max_renewable_to_peak_load_pct | mean_hourly_renewable_to_load_pct | max_hourly_renewable_to_load_pct | hours_renewable_ge_load | thermal_generation_MWh | TG1_gas_MWh | TG2_coal_MWh | carbon_tCO2 | load_shedding_MWh | charge_MWh | discharge_MWh | throughput_MWh | throughput_to_load_energy_pct | max_charge_power_MW | max_discharge_power_MW | max_total_SOC_MWh | min_total_SOC_MWh | total_SOC_swing_pct | coal_nonzero_hours | gas_nonzero_hours
RES0x | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 280 | 21.4773 | 325.926 | 6217.194 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 4800 | 2400 | 2400 | 3561.6 | 1420.3871 | 32.75 | 29.5569 | 62.3069 | 1.0022 | 12.804 | 29.5569 | 171.1125 | 140 | 11.1116 | 24 | 24
RES1x | 190 | 80 | 60 | 330 | 1.0125 | 101.25 | 70 | 280 | 21.4773 | 325.926 | 6217.194 | 2069.3032 | 33.2836 | 2069.3032 | 33.2836 | 0 | 0 | 122.9627 | 37.7272 | 34.0432 | 55.7262 | 0 | 4179.6523 | 1779.6523 | 2400 | 3288.647 | 0 | 228.6619 | 196.9004 | 425.5623 | 6.8449 | 60.717 | 40.7227 | 212.1115 | 0 | 75.7541 | 24 | 24
RES2x | 370 | 160 | 120 | 650 | 1.9943 | 199.4318 | 70 | 280 | 21.4773 | 325.926 | 6217.194 | 4080.1325 | 65.6266 | 4080.1325 | 65.6266 | 0 | 0 | 241.0069 | 73.9453 | 67.0779 | 109.2234 | 3 | 2176.1975 | 142.3815 | 2033.816 | 2185.9517 | 0 | 267.9495 | 228.8136 | 496.7632 | 7.9902 | 54.0052 | 59.0863 | 246.5919 | 0 | 88.0685 | 24 | 8
RES3x | 550 | 250 | 180 | 980 | 3.0068 | 300.6817 | 70 | 280 | 21.4773 | 325.926 | 6217.194 | 6166.8933 | 99.1909 | 5759.5983 | 92.6398 | 407.295 | 6.6045 | 331.485 | 101.7056 | 93.3477 | 129.2177 | 7 | 500.2572 | 0 | 500.2572 | 522.2685 | 0 | 306.3736 | 263.712 | 570.0856 | 9.1695 | 70 | 40 | 178.4271 | 0 | 63.724 | 16 | 0

## hourly_profile
case | hour | load_MW | renewable_MW | renewable_to_load_pct | curtailment_MW | TG1_gas_MW | TG2_coal_MW | charge_MW | discharge_MW | total_SOC_MWh | load_shedding_MW | carbon_tCO2
RES0x | 1 | 187.931 | 0 | 0 | 0 | 100 | 100 | 12.069 | 0 | 140 | 0 | 148.4
RES0x | 2 | 187.196 | 0 | 0 | 0 | 100 | 100 | 12.804 | 0 | 151.4656 | 0 | 148.4
RES0x | 3 | 192.123 | 0 | 0 | 0 | 100 | 100 | 7.877 | 0 | 163.6293 | 0 | 148.4
RES0x | 4 | 203.442 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 3.442 | 148.4
RES0x | 5 | 215.152 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 15.152 | 148.4
RES0x | 6 | 228.286 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 28.286 | 148.4
RES0x | 7 | 243.328 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 43.328 | 148.4
RES0x | 8 | 261.693 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 61.693 | 148.4
RES0x | 9 | 280.653 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 80.653 | 148.4
RES0x | 10 | 296.791 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 171.1125 | 96.791 | 148.4
RES0x | 11 | 312.694 | 0 | 0 | 0 | 100 | 100 | 0 | 29.5569 | 171.1125 | 83.1371 | 148.4
RES0x | 12 | 323.518 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 123.518 | 148.4
RES0x | 13 | 325.926 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 125.926 | 148.4
RES0x | 14 | 324.676 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 124.676 | 148.4
RES0x | 15 | 318.456 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 118.456 | 148.4
RES0x | 16 | 309.453 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 109.453 | 148.4
RES0x | 17 | 299.926 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 99.926 | 148.4
RES0x | 18 | 289.475 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 89.475 | 148.4
RES0x | 19 | 281.212 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 81.212 | 148.4
RES0x | 20 | 261.485 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 61.485 | 148.4
RES0x | 21 | 239.581 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 39.581 | 148.4
RES0x | 22 | 223.138 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 23.138 | 148.4
RES0x | 23 | 209.243 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 9.243 | 148.4
RES0x | 24 | 201.816 | 0 | 0 | 0 | 100 | 100 | 0 | 0 | 140 | 1.816 | 148.4
RES1x | 1 | 187.931 | 72.4164 | 38.5335 | 0 | 45.5146 | 100 | 30 | 0 | 140 | 0 | 124.4264
RES1x | 2 | 187.196 | 65.6761 | 35.0842 | 0 | 51.5199 | 100 | 30 | 0 | 168.5 | 0 | 127.0687
RES1x | 3 | 192.123 | 56.8953 | 29.614 | 0 | 35.2277 | 100 | 0 | 0 | 197 | 0 | 119.9002
RES1x | 4 | 203.442 | 47.9497 | 23.5692 | 0 | 55.4923 | 100 | 0 | 0 | 197 | 0 | 128.8166
RES1x | 5 | 215.152 | 52.2835 | 24.3007 | 0 | 62.8685 | 100 | 0 | 0 | 197 | 0 | 132.0621
RES1x | 6 | 228.286 | 65.0635 | 28.5009 | 0 | 69.5135 | 100 | 6.2911 | 0 | 197 | 0 | 134.986
RES1x | 7 | 243.328 | 71.3617 | 29.3274 | 0 | 71.9663 | 100 | 0 | 0 | 202.662 | 0 | 136.0652
RES1x | 8 | 261.693 | 72.0171 | 27.5197 | 0 | 100 | 100 | 10.3241 | 0 | 202.662 | 0 | 148.4
RES1x | 9 | 280.653 | 76.1292 | 27.1257 | 0 | 100 | 100 | 0 | 4.5238 | 212.1115 | 0 | 148.4
RES1x | 10 | 296.791 | 81.3434 | 27.4076 | 0 | 100 | 100 | 0 | 15.4476 | 207.3496 | 0 | 148.4
RES1x | 11 | 312.694 | 79.622 | 25.4632 | 0 | 100 | 100 | 0 | 33.072 | 190.1856 | 0 | 148.4
RES1x | 12 | 323.518 | 82.7953 | 25.5922 | 0 | 100 | 100 | 0 | 40.7227 | 154.896 | 0 | 148.4
RES1x | 13 | 325.926 | 89.3227 | 27.4058 | 0 | 100 | 100 | 0 | 36.6033 | 111.4029 | 0 | 148.4
RES1x | 14 | 324.676 | 95.0958 | 29.2894 | 0 | 100 | 100 | 0 | 29.5802 | 70.7326 | 0 | 148.4
RES1x | 15 | 318.456 | 103.545 | 32.5147 | 0 | 100 | 100 | 0 | 14.911 | 39.5956 | 0 | 148.4
RES1x | 16 | 309.453 | 105.5774 | 34.1174 | 0 | 100 | 100 | 0 | 3.8756 | 23.8998 | 0 | 148.4
RES1x | 17 | 299.926 | 91.8316 | 30.6181 | 0 | 100 | 100 | 0 | 8.0944 | 19.5936 | 0 | 148.4
RES1x | 18 | 289.475 | 79.4051 | 27.4307 | 0 | 100 | 100 | 0 | 10.0699 | 10.5999 | 0 | 148.4
RES1x | 19 | 281.212 | 97.2992 | 34.6 | 0 | 100 | 100 | 16.0872 | 0 | 0 | 0 | 148.4
RES1x | 20 | 261.485 | 114.5815 | 43.8195 | 0 | 46.9035 | 100 | 0 | 0 | 14.4785 | 0 | 125.0375
RES1x | 21 | 239.581 | 119.8236 | 50.0138 | 0 | 25 | 100 | 5.2426 | 0 | 14.4785 | 0 | 115.4
RES1x | 22 | 223.138 | 122.9627 | 55.1061 | 0 | 30.1753 | 100 | 30 | 0 | 19.459 | 0 | 117.6772
RES1x | 23 | 209.243 | 116.6032 | 55.7262 | 0 | 53.3568 | 100 | 60.717 | 0 | 47.959 | 0 | 127.877
RES1x | 24 | 201.816 | 109.7021 | 54.3575 | 0 | 32.1139 | 100 | 40 | 0 | 104 | 0 | 118.5301
RES2x | 1 | 187.931 | 141.9362 | 75.5257 | 0 | 1.4211e-14 | 100 | 54.0052 | 0 | 140 | 0 | 104.4
RES2x | 2 | 187.196 | 128.7254 | 68.7651 | 0 | 0 | 100 | 41.5294 | 0 | 190.1047 | 0 | 104.4
RES2x | 3 | 192.123 | 111.5151 | 58.0436 | 0 | 0 | 100 | 19.3921 | 0 | 228.9812 | 0 | 104.4
RES2x | 4 | 203.442 | 93.9915 | 46.2007 | 0 | 5.1129 | 100 | 0 | 4.3376 | 246.5919 | 0 | 106.6497
RES2x | 5 | 215.152 | 103.0555 | 47.8989 | 0 | 0 | 100 | 0 | 12.0965 | 242.026 | 0 | 104.4
RES2x | 6 | 228.286 | 129.262 | 56.6229 | 0 | 0 | 100 | 0.97604 | 0 | 229.2929 | 0 | 104.4
RES2x | 7 | 243.328 | 142.0957 | 58.3968 | 0 | 0 | 100 | 0 | 1.2323 | 230.2201 | 0 | 104.4
RES2x | 8 | 261.693 | 143.507 | 54.8379 | 0 | 0 | 100 | 0 | 18.186 | 228.923 | 0 | 104.4
RES2x | 9 | 280.653 | 151.6033 | 54.018 | 0 | 0 | 100 | 0 | 29.0497 | 208.7162 | 0 | 104.4
RES2x | 10 | 296.791 | 161.8343 | 54.528 | 0 | 25 | 100 | 0 | 9.9567 | 178.1376 | 0 | 115.4
RES2x | 11 | 312.694 | 158.2634 | 50.6129 | 0 | 22.5407 | 100 | 0 | 31.8899 | 167.0746 | 0 | 114.3179
RES2x | 12 | 323.518 | 164.4317 | 50.8261 | 0 | 1.4211e-14 | 100 | 0 | 59.0863 | 133.3957 | 0 | 104.4
RES2x | 13 | 325.926 | 177.1735 | 54.36 | 0 | 25 | 100 | 0 | 23.7525 | 68.8604 | 0 | 115.4
RES2x | 14 | 324.676 | 188.2983 | 57.9958 | 0 | 25 | 100 | 0 | 11.3777 | 42.4688 | 0 | 115.4
RES2x | 15 | 318.456 | 204.6893 | 64.2755 | 0 | 13.7667 | 100 | 0 | 0 | 29.8269 | 0 | 110.4574
RES2x | 16 | 309.453 | 208.4918 | 67.3743 | 0 | 0.96119 | 100 | 0 | 0 | 29.8269 | 0 | 104.8229
RES2x | 17 | 299.926 | 180.8476 | 60.2974 | 0 | 0 | 100 | 0 | 19.0784 | 29.8269 | 0 | 104.4
RES2x | 18 | 289.475 | 155.7051 | 53.7888 | 0 | 25 | 100 | 0 | 8.7699 | 9.7444 | 0 | 115.4
RES2x | 19 | 281.212 | 190.7066 | 67.816 | 0 | 0 | 90.5054 | 0 | 0 | 0 | 0 | 94.4876
RES2x | 20 | 261.485 | 224.5798 | 85.8863 | 0 | 0 | 36.9052 | 0 | 0 | 0 | 0 | 38.5291
RES2x | 21 | 239.581 | 234.8543 | 98.0271 | 0 | 0 | 34.7267 | 30 | 0 | 0 | 0 | 36.2547
RES2x | 22 | 223.138 | 241.0069 | 108.008 | 0 | 0 | 35 | 52.8689 | 0 | 28.5 | 0 | 36.54
RES2x | 23 | 209.243 | 228.5423 | 109.2234 | 0 | 0 | 20.7007 | 40 | 0 | 77.582 | 0 | 21.6116
RES2x | 24 | 201.816 | 215.0161 | 106.5406 | 0 | 0 | 15.9779 | 29.1779 | 0 | 113.582 | 0 | 16.6809
RES3x | 1 | 187.931 | 211.4563 | 112.518 | 0 | 0 | 0 | 23.5253 | 0 | 140 | 0 | 0
RES3x | 2 | 187.196 | 191.7753 | 102.4463 | 0 | 0 | 12.345 | 16.9243 | 0 | 162.349 | 0 | 12.8882
RES3x | 3 | 192.123 | 166.1355 | 86.4735 | 0 | 0 | 25.9875 | 0 | 0 | 178.4271 | 0 | 27.1309
RES3x | 4 | 203.442 | 140.0647 | 68.8475 | 0 | 0 | 35 | 0 | 28.3773 | 178.4271 | 0 | 36.54
RES3x | 5 | 215.152 | 155.6395 | 72.3393 | 0 | 0 | 35 | 0 | 24.5125 | 146.8968 | 0 | 36.54
RES3x | 6 | 228.286 | 198.8902 | 87.1233 | 0 | 0 | 29.3958 | 0 | 0 | 121.0942 | 0 | 30.6892
RES3x | 7 | 243.328 | 219.7883 | 90.3259 | 0 | 0 | 35 | 11.4603 | 0 | 121.0942 | 0 | 36.54
RES3x | 8 | 261.693 | 222.3516 | 84.9666 | 0 | 0 | 35 | 0 | 4.3414 | 131.9815 | 0 | 36.54
RES3x | 9 | 280.653 | 234.5463 | 83.5716 | 0 | 0 | 35 | 0 | 11.1067 | 127.1576 | 0 | 36.54
RES3x | 10 | 296.791 | 249.8291 | 84.1768 | 0 | 0 | 35 | 0 | 11.9619 | 114.8169 | 0 | 36.54
RES3x | 11 | 312.694 | 243.7927 | 77.9653 | 0 | 0 | 35 | 0 | 33.9013 | 101.5259 | 0 | 36.54
RES3x | 12 | 323.518 | 252.796 | 78.1397 | 0 | 0 | 35 | 0 | 35.722 | 65.6122 | 0 | 36.54
RES3x | 13 | 325.926 | 271.5898 | 83.3287 | 0 | 0 | 35 | 0 | 19.3362 | 27.6755 | 0 | 36.54
RES3x | 14 | 324.676 | 287.4712 | 88.541 | 0 | 0 | 35 | 0 | 2.2048 | 7.3216 | 0 | 36.54
RES3x | 15 | 318.456 | 311.2743 | 97.7448 | 0 | 0 | 12.5289 | 5.3473 | 0 | 4.8719 | 0 | 13.0802
RES3x | 16 | 309.453 | 316.2816 | 102.2067 | 0 | 0 | 0 | 6.8286 | 0 | 9.9517 | 0 | 0
RES3x | 17 | 299.926 | 272.5434 | 90.8702 | 0 | 0 | 35 | 7.6174 | 0 | 16.4389 | 0 | 36.54
RES3x | 18 | 289.475 | 232.227 | 80.2235 | 0 | 0 | 35 | 0 | 22.248 | 23.6754 | 0 | 36.54
RES3x | 19 | 281.212 | 284.1144 | 101.0321 | 0 | 0 | 0 | 2.9024 | 0 | 0 | 0 | 0
RES3x | 20 | 261.485 | 331.485 | 126.7702 | 3.0932 | 0 | 0 | 70 | 0 | 2.7572 | 0 | 0
RES3x | 21 | 239.581 | 309.581 | 129.2177 | 40.3041 | 0 | 0 | 70 | 0 | 67.2572 | 0 | 0
RES3x | 22 | 223.138 | 211.4096 | 94.7439 | 147.6416 | 0 | 0 | 18.2716 | 30 | 131.7572 | 0 | 0
RES3x | 23 | 209.243 | 199.243 | 95.2209 | 141.2385 | 0 | 0 | 30 | 40 | 116.6227 | 0 | 0
RES3x | 24 | 201.816 | 245.3125 | 121.5526 | 75.0177 | 0 | 0 | 43.4965 | 0 | 100.6783 | 0 | 0

## SOC
case | hour | ES1_SOC_MWh | ES2_SOC_MWh
RES0x | 0 | 80 | 60
RES0x | 1 | 80 | 71.4655
RES0x | 2 | 80 | 83.6294
RES0x | 3 | 80 | 91.1125
RES0x | 4 | 80 | 91.1125
RES0x | 5 | 80 | 91.1125
RES0x | 6 | 80 | 91.1125
RES0x | 7 | 80 | 91.1125
RES0x | 8 | 80 | 91.1125
RES0x | 9 | 80 | 91.1125
RES0x | 10 | 80 | 91.1125
RES0x | 11 | 80 | 60
RES0x | 12 | 80 | 60
RES0x | 13 | 80 | 60
RES0x | 14 | 80 | 60
RES0x | 15 | 80 | 60
RES0x | 16 | 80 | 60
RES0x | 17 | 80 | 60
RES0x | 18 | 80 | 60
RES0x | 19 | 80 | 60
RES0x | 20 | 80 | 60
RES0x | 21 | 80 | 60
RES0x | 22 | 80 | 60
RES0x | 23 | 80 | 60
RES0x | 24 | 80 | 60
RES1x | 0 | 80 | 60
RES1x | 1 | 80 | 88.5
RES1x | 2 | 80 | 117
RES1x | 3 | 80 | 117
RES1x | 4 | 80 | 117
RES1x | 5 | 80 | 117
RES1x | 6 | 85.662 | 117
RES1x | 7 | 85.662 | 117
RES1x | 8 | 92.1115 | 120
RES1x | 9 | 92.1115 | 115.2381
RES1x | 10 | 74.9475 | 115.2381
RES1x | 11 | 65.8844 | 89.0116
RES1x | 12 | 53.9703 | 57.4327
RES1x | 13 | 13.3 | 57.4327
RES1x | 14 | 13.3 | 26.2956
RES1x | 15 | 13.3 | 10.5999
RES1x | 16 | 8.9937 | 10.5999
RES1x | 17 | 0 | 10.5999
RES1x | 18 | 0 | 0
RES1x | 19 | 14.4785 | 0
RES1x | 20 | 14.4785 | 0
RES1x | 21 | 14.4785 | 4.9805
RES1x | 22 | 14.4785 | 33.4805
RES1x | 23 | 44 | 60
RES1x | 24 | 80 | 60
RES2x | 0 | 80 | 60
RES2x | 1 | 101.6047 | 88.5
RES2x | 2 | 111.9812 | 117
RES2x | 3 | 126.5919 | 120
RES2x | 4 | 126.5919 | 115.4341
RES2x | 5 | 126.5919 | 102.7009
RES2x | 6 | 126.5919 | 103.6282
RES2x | 7 | 126.5919 | 102.331
RES2x | 8 | 106.3852 | 102.331
RES2x | 9 | 106.3852 | 71.7524
RES2x | 10 | 95.3222 | 71.7524
RES2x | 11 | 93.2223 | 40.1734
RES2x | 12 | 48.7779 | 20.0826
RES2x | 13 | 22.3862 | 20.0826
RES2x | 14 | 9.7444 | 20.0826
RES2x | 15 | 9.7444 | 20.0826
RES2x | 16 | 9.7444 | 20.0826
RES2x | 17 | 9.7444 | 0
RES2x | 18 | 0 | 0
RES2x | 19 | 0 | 0
RES2x | 20 | 0 | 0
RES2x | 21 | 0 | 28.5
RES2x | 22 | 20.582 | 57
RES2x | 23 | 56.582 | 57
RES2x | 24 | 80 | 60
RES3x | 0 | 80 | 60
RES3x | 1 | 80 | 82.349
RES3x | 2 | 80 | 98.4271
RES3x | 3 | 80 | 98.4271
RES3x | 4 | 48.4697 | 98.4271
RES3x | 5 | 48.4697 | 72.6245
RES3x | 6 | 48.4697 | 72.6245
RES3x | 7 | 48.4697 | 83.5117
RES3x | 8 | 43.6459 | 83.5117
RES3x | 9 | 31.3051 | 83.5117
RES3x | 10 | 18.0141 | 83.5117
RES3x | 11 | 13.6794 | 51.9328
RES3x | 12 | 7.3216 | 20.3538
RES3x | 13 | 7.3216 | 0
RES3x | 14 | 4.8719 | 0
RES3x | 15 | 4.8719 | 5.0799
RES3x | 16 | 4.8719 | 11.5671
RES3x | 17 | 4.8719 | 18.8036
RES3x | 18 | 0 | 0
RES3x | 19 | 0 | 2.7572
RES3x | 20 | 36 | 31.2572
RES3x | 21 | 72 | 59.7572
RES3x | 22 | 88.4444 | 28.1783
RES3x | 23 | 44 | 56.6783
RES3x | 24 | 80 | 60