## summary
scenario | ES1_power_MW | ES2_power_MW | total_ES_power_MW | ES_power_to_peak_load_pct | total_ES_energy_MWh | duration_h | load_peak_MW | load_energy_MWh | RG1_capacity_MW | RG2_capacity_MW | RG3_capacity_MW | total_RG_capacity_MW | RG_capacity_to_peak_load_pct | renewable_available_MWh | renewable_used_MWh | curtailment_MWh | curtailment_ratio_pct | load_shedding_MWh | thermal_generation_MWh | TG1_gas_MWh | TG2_coal_MWh | carbon_tCO2 | charge_MWh | discharge_MWh | throughput_MWh | throughput_to_load_energy_pct | max_charge_power_MW | max_discharge_power_MW | max_total_SOC_MWh | min_total_SOC_MWh | max_total_SOC_pct | min_total_SOC_pct | total_SOC_swing_pct | ES1_SOC_swing_pct | ES2_SOC_swing_pct | coal_nonzero_hours | gas_nonzero_hours
ES0_0MW | 0 | 0 | 0 | 0 | 0 |  | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 17146.1494 | 2284.0136 | 11.755 | 0 | 1505.4326 | 0 | 1505.4326 | 1571.6717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 42 | 0
ES40_30MW | 40 | 30 | 70 | 21.4773 | 280 | 4 | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 18081.0499 | 1349.1131 | 6.9434 | 0 | 733.7856 | 0 | 733.7856 | 766.0721 | 1107.3413 | 944.0879 | 2051.4292 | 10.9987 | 70 | 55.7141 | 280 | 0 | 100 | 0 | 100 | 100 | 100 | 30 | 0
ES60_40MW | 60 | 40 | 100 | 30.6818 | 400 | 4 | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 18410.0471 | 1020.1159 | 5.2502 | 0 | 458.3127 | 0 | 458.3127 | 478.4785 | 1440.9113 | 1224.1335 | 2665.0448 | 14.2886 | 100 | 77.558 | 400 | 0 | 100 | 0 | 100 | 100 | 100 | 17 | 0
ES80_60MW | 80 | 60 | 140 | 42.9545 | 560 | 4 | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 18843.9012 | 586.2618 | 3.0173 | 0 | 180.9356 | 0 | 180.9356 | 188.8968 | 2432.4774 | 2059.2226 | 4491.7001 | 24.0821 | 140 | 80 | 560 | 0 | 100 | 0 | 100 | 100 | 100 | 5 | 0
ES100_80MW | 100 | 80 | 180 | 55.2273 | 720 | 4 | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 19140.4446 | 289.7184 | 1.4911 | 0 | 105.9149 | 0 | 105.9149 | 110.5751 | 4044.0314 | 3449.254 | 7493.2854 | 40.1751 | 155.5872 | 100 | 658.1997 | 0 | 91.4166 | 0 | 91.4166 | 100 | 100 | 3 | 0
ES110_90MW | 110 | 90 | 200 | 61.3636 | 800 | 4 | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 19195.6093 | 234.5537 | 1.2072 | 0 | 66.7417 | 0 | 66.7417 | 69.6784 | 4079.256 | 3468.4869 | 7547.7429 | 40.467 | 155.5872 | 110 | 674.3831 | 0 | 84.2979 | 0 | 84.2979 | 100 | 100 | 2 | 0
ES130_110MW | 130 | 110 | 240 | 73.6363 | 960 | 4 | 325.926 | 18651.582 | 580 | 260 | 190 | 1030 | 316.0227 | 19430.163 | 19295.1513 | 135.0117 | 0.69486 | 0 | 0 | 0 | 0 | 0 | 4126.4664 | 3482.8971 | 7609.3635 | 40.7974 | 155.5872 | 130 | 659.1498 | 0 | 68.6614 | 0 | 68.6614 | 100 | 83.2519 | 0 | 0

## daily_summary
scenario | day | hour | load_MW | renewable_MW | curtailment_MW | TG1_gas_MW | TG2_coal_MW | load_shedding_MW | charge_MW | discharge_MW | total_SOC_MWh | carbon_tCO2
ES0_0MW | 1 | 300 | 6217.194 | 5715.3831 | 761.3379 | 0 | 501.8109 | 0 | 0 | 0 | 0 | 523.8906
ES0_0MW | 2 | 876 | 6217.194 | 5715.3831 | 761.3379 | 0 | 501.8109 | 0 | 0 | 0 | 0 | 523.8906
ES0_0MW | 3 | 1452 | 6217.194 | 5715.3831 | 761.3379 | 0 | 501.8109 | 0 | 0 | 0 | 0 | 523.8906
ES40_30MW | 1 | 300 | 6217.194 | 6060.5862 | 416.1348 | 0 | 300.7073 | 0 | 385.2031 | 241.1036 | 2136.6924 | 313.9384
ES40_30MW | 2 | 876 | 6217.194 | 6059.7011 | 417.0199 | 0 | 216.5392 | 0 | 390.0912 | 331.045 | 2650.3268 | 226.0669
ES40_30MW | 3 | 1452 | 6217.194 | 5960.7626 | 515.9584 | 0 | 216.5392 | 0 | 332.047 | 371.9393 | 2702.6045 | 226.0669
ES60_40MW | 1 | 300 | 6217.194 | 6188.6693 | 288.0517 | 0 | 245.2344 | 0 | 507.3083 | 290.5986 | 2827.8484 | 256.0247
ES60_40MW | 2 | 876 | 6217.194 | 6188.6693 | 288.0517 | 0 | 106.5392 | 0 | 507.3083 | 429.2938 | 4712.9313 | 111.2269
ES60_40MW | 3 | 1452 | 6217.194 | 6032.7085 | 444.0125 | 0 | 106.5392 | 0 | 426.2947 | 504.241 | 4381.5914 | 111.2269
ES80_60MW | 1 | 300 | 6217.194 | 6359.1034 | 117.6176 | 0 | 180.9356 | 0 | 754.4955 | 431.6504 | 5103.8985 | 188.8968
ES80_60MW | 2 | 876 | 6217.194 | 6359.1034 | 117.6176 | 0 | 0 | 0 | 894.4657 | 752.5562 | 6205.1862 | 0
ES80_60MW | 3 | 1452 | 6217.194 | 6125.6943 | 351.0267 | 0 | 0 | 0 | 783.5163 | 875.016 | 6015.0022 | 0
ES100_80MW | 1 | 300 | 6217.194 | 6476.721 | 0 | 0 | 105.9149 | 0 | 850.3683 | 484.9265 | 5771.0511 | 110.5751
ES100_80MW | 2 | 876 | 6217.194 | 6476.721 | 0 | 0 | 0 | 0 | 1645.3986 | 1385.8716 | 7785.1502 | 0
ES100_80MW | 3 | 1452 | 6217.194 | 6187.0026 | 289.7184 | 0 | 0 | 0 | 1548.2645 | 1578.4559 | 7174.823 | 0
ES110_90MW | 1 | 300 | 6217.194 | 6476.721 | 1.5987e-14 | 0 | 66.7417 | 0 | 828.0796 | 501.8109 | 5892.5887 | 69.6784
ES110_90MW | 2 | 876 | 6217.194 | 6476.721 | 0 | 0 | 0 | 0 | 1561.8472 | 1302.3202 | 7735.0448 | 0
ES110_90MW | 3 | 1452 | 6217.194 | 6242.1673 | 234.5537 | 0 | 0 | 0 | 1689.3292 | 1664.3559 | 7758.9905 | 0
ES130_110MW | 1 | 300 | 6217.194 | 6476.721 | 0 | 0 | 0 | 0 | 794.6378 | 535.1108 | 6137.6529 | 0
ES130_110MW | 2 | 876 | 6217.194 | 6476.721 | 0 | 0 | 0 | 0 | 1541.3177 | 1281.7907 | 7373.394 | 0
ES130_110MW | 3 | 1452 | 6217.194 | 6341.7093 | 135.0117 | 0 | 0 | 0 | 1790.5109 | 1665.9956 | 7394.819 | 0

## hourly_profile
scenario | hour | load_MW | renewable_MW | curtailment_MW | TG1_gas_MW | TG2_coal_MW | load_shedding_MW | charge_MW | discharge_MW | total_SOC_MWh | carbon_tCO2
ES0_0MW | 1 | 187.931 | 187.931 | 35.1118 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 2 | 187.196 | 187.196 | 15.0873 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 3 | 192.123 | 175.2386 | 0 | 0 | 16.8844 | 0 | 0 | 0 | 0 | 17.6273
ES0_0MW | 4 | 203.442 | 147.7279 | 1.0991e-14 | 0 | 55.7141 | 0 | 0 | 0 | 0 | 58.1655
ES0_0MW | 5 | 215.152 | 163.4975 | 0 | 0 | 51.6545 | 0 | 0 | 0 | 0 | 53.9273
ES0_0MW | 6 | 228.286 | 207.7801 | 1.0658e-14 | 0 | 20.5059 | 0 | 0 | 0 | 0 | 21.4082
ES0_0MW | 7 | 243.328 | 229.2577 | 1.0658e-14 | 0 | 14.0703 | 0 | 0 | 0 | 0 | 14.6893
ES0_0MW | 8 | 261.693 | 231.815 | 0 | 0 | 29.878 | 0 | 0 | 0 | 0 | 31.1927
ES0_0MW | 9 | 280.653 | 244.6357 | 0 | 0 | 36.0173 | 0 | 0 | 0 | 0 | 37.6021
ES0_0MW | 10 | 296.791 | 260.743 | 0 | 0 | 36.048 | 0 | 0 | 0 | 0 | 37.6341
ES0_0MW | 11 | 312.694 | 254.6036 | 0 | 0 | 58.0904 | 0 | 0 | 0 | 0 | 60.6464
ES0_0MW | 12 | 323.518 | 264.1594 | 0 | 0 | 59.3586 | 0 | 0 | 0 | 0 | 61.9703
ES0_0MW | 13 | 325.926 | 284.0431 | 0 | 0 | 41.8829 | 0 | 0 | 0 | 0 | 43.7257
ES0_0MW | 14 | 324.676 | 301.0148 | 0 | 0 | 23.6612 | 0 | 0 | 0 | 0 | 24.7023
ES0_0MW | 15 | 318.456 | 318.456 | 7.8621 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 16 | 309.453 | 309.453 | 22.3559 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 17 | 299.926 | 286.4861 | 0 | 0 | 13.4399 | 0 | 0 | 0 | 0 | 14.0313
ES0_0MW | 18 | 289.475 | 244.8696 | 0 | 0 | 44.6054 | 0 | 0 | 0 | 0 | 46.568
ES0_0MW | 19 | 281.212 | 281.212 | 18.4701 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 20 | 261.485 | 261.485 | 91.4262 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 21 | 239.581 | 239.581 | 129.4758 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 22 | 223.138 | 223.138 | 155.5872 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 23 | 209.243 | 209.243 | 149.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 24 | 201.816 | 201.816 | 136.0665 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 25 | 187.931 | 187.931 | 35.1118 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 26 | 187.196 | 187.196 | 15.0873 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 27 | 192.123 | 175.2386 | 0 | 0 | 16.8844 | 0 | 0 | 0 | 0 | 17.6273
ES0_0MW | 28 | 203.442 | 147.7279 | 0 | 0 | 55.7141 | 0 | 0 | 0 | 0 | 58.1655
ES0_0MW | 29 | 215.152 | 163.4975 | 0 | 0 | 51.6545 | 0 | 0 | 0 | 0 | 53.9273
ES0_0MW | 30 | 228.286 | 207.7801 | 0 | 0 | 20.5059 | 0 | 0 | 0 | 0 | 21.4082
ES0_0MW | 31 | 243.328 | 229.2577 | 0 | 0 | 14.0703 | 0 | 0 | 0 | 0 | 14.6893
ES0_0MW | 32 | 261.693 | 231.815 | 0 | 0 | 29.878 | 0 | 0 | 0 | 0 | 31.1927
ES0_0MW | 33 | 280.653 | 244.6357 | 0 | 0 | 36.0173 | 0 | 0 | 0 | 0 | 37.6021
ES0_0MW | 34 | 296.791 | 260.743 | 0 | 0 | 36.048 | 0 | 0 | 0 | 0 | 37.6341
ES0_0MW | 35 | 312.694 | 254.6036 | 0 | 0 | 58.0904 | 0 | 0 | 0 | 0 | 60.6464
ES0_0MW | 36 | 323.518 | 264.1594 | 0 | 0 | 59.3586 | 0 | 0 | 0 | 0 | 61.9703
ES0_0MW | 37 | 325.926 | 284.0431 | 0 | 0 | 41.8829 | 0 | 0 | 0 | 0 | 43.7257
ES0_0MW | 38 | 324.676 | 301.0148 | 0 | 0 | 23.6612 | 0 | 0 | 0 | 0 | 24.7023
ES0_0MW | 39 | 318.456 | 318.456 | 7.8621 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 40 | 309.453 | 309.453 | 22.3559 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 41 | 299.926 | 286.4861 | 0 | 0 | 13.4399 | 0 | 0 | 0 | 0 | 14.0313
ES0_0MW | 42 | 289.475 | 244.8696 | 0 | 0 | 44.6054 | 0 | 0 | 0 | 0 | 46.568
ES0_0MW | 43 | 281.212 | 281.212 | 18.4701 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 44 | 261.485 | 261.485 | 91.4262 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 45 | 239.581 | 239.581 | 129.4758 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 46 | 223.138 | 223.138 | 155.5872 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 47 | 209.243 | 209.243 | 149.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 48 | 201.816 | 201.816 | 136.0665 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 49 | 187.931 | 187.931 | 35.1118 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 50 | 187.196 | 187.196 | 15.0873 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 51 | 192.123 | 175.2386 | 0 | 0 | 16.8844 | 0 | 0 | 0 | 0 | 17.6273
ES0_0MW | 52 | 203.442 | 147.7279 | 0 | 0 | 55.7141 | 0 | 0 | 0 | 0 | 58.1655
ES0_0MW | 53 | 215.152 | 163.4975 | 1.7764e-14 | 0 | 51.6545 | 0 | 0 | 0 | 0 | 53.9273
ES0_0MW | 54 | 228.286 | 207.7801 | 7.1054e-15 | 0 | 20.5059 | 0 | 0 | 0 | 0 | 21.4082
ES0_0MW | 55 | 243.328 | 229.2577 | 7.1054e-15 | 0 | 14.0703 | 0 | 0 | 0 | 0 | 14.6893
ES0_0MW | 56 | 261.693 | 231.815 | 0 | 0 | 29.878 | 0 | 0 | 0 | 0 | 31.1927
ES0_0MW | 57 | 280.653 | 244.6357 | 0 | 0 | 36.0173 | 0 | 0 | 0 | 0 | 37.6021
ES0_0MW | 58 | 296.791 | 260.743 | 0 | 0 | 36.048 | 0 | 0 | 0 | 0 | 37.6341
ES0_0MW | 59 | 312.694 | 254.6036 | 0 | 0 | 58.0904 | 0 | 0 | 0 | 0 | 60.6464
ES0_0MW | 60 | 323.518 | 264.1594 | 0 | 0 | 59.3586 | 0 | 0 | 0 | 0 | 61.9703
ES0_0MW | 61 | 325.926 | 284.0431 | 0 | 0 | 41.8829 | 0 | 0 | 0 | 0 | 43.7257
ES0_0MW | 62 | 324.676 | 301.0148 | 0 | 0 | 23.6612 | 0 | 0 | 0 | 0 | 24.7023
ES0_0MW | 63 | 318.456 | 318.456 | 7.8621 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 64 | 309.453 | 309.453 | 22.3559 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 65 | 299.926 | 286.4861 | 0 | 0 | 13.4399 | 0 | 0 | 0 | 0 | 14.0313
ES0_0MW | 66 | 289.475 | 244.8696 | 0 | 0 | 44.6054 | 0 | 0 | 0 | 0 | 46.568
ES0_0MW | 67 | 281.212 | 281.212 | 18.4701 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 68 | 261.485 | 261.485 | 91.4262 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 69 | 239.581 | 239.581 | 129.4758 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 70 | 223.138 | 223.138 | 155.5872 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 71 | 209.243 | 209.243 | 149.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES0_0MW | 72 | 201.816 | 201.816 | 136.0665 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ES40_30MW | 1 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 35.1118 | 0 | 140 | 0
ES40_30MW | 2 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 173.1007 | 0
ES40_30MW | 3 | 192.123 | 175.2386 | 0 | 0 | 16.8844 | 0 | 0 | 0 | 187.4336 | 17.6273
ES40_30MW | 4 | 203.442 | 147.7279 | 0 | 0 | 35 | 0 | 0 | 20.7141 | 187.4336 | 36.54
ES40_30MW | 5 | 215.152 | 163.4975 | 0 | 0 | 35 | 0 | 0 | 16.6545 | 164.4339 | 36.54
ES40_30MW | 6 | 228.286 | 207.7801 | 0 | 0 | 13.6907 | 0 | 0 | 6.8152 | 146.9029 | 14.2931
ES40_30MW | 7 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 139.729 | 0
ES40_30MW | 8 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 124.9182 | 0
ES40_30MW | 9 | 280.653 | 244.6357 | 0 | 0 | 35 | 0 | 0 | 1.0173 | 93.4676 | 36.54
ES40_30MW | 10 | 296.791 | 260.743 | 0 | 0 | 35 | 0 | 0 | 1.048 | 92.3373 | 36.54
ES40_30MW | 11 | 312.694 | 254.6036 | 0 | 0 | 35 | 0 | 0 | 23.0904 | 91.1728 | 36.54
ES40_30MW | 12 | 323.518 | 264.1594 | 0 | 0 | 29.3586 | 0 | 0 | 30 | 65.5168 | 30.6503
ES40_30MW | 13 | 325.926 | 284.0431 | 0 | 0 | 35 | 0 | 0 | 6.8829 | 33.9378 | 36.54
ES40_30MW | 14 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 26.2902 | 0
ES40_30MW | 15 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 0 | 0
ES40_30MW | 16 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 7.469 | 0
ES40_30MW | 17 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 28.7071 | 0
ES40_30MW | 18 | 289.475 | 244.8696 | 0 | 0 | 30.7736 | 0 | 0 | 13.8318 | 14.5598 | 32.1276
ES40_30MW | 19 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES40_30MW | 20 | 261.485 | 331.485 | 21.4262 | 0 | 0 | 0 | 70 | 0 | 16.6231 | 0
ES40_30MW | 21 | 239.581 | 205.8968 | 163.16 | 0 | 0 | 0 | 6.3158 | 40 | 81.1231 | 0
ES40_30MW | 22 | 223.138 | 293.138 | 85.5872 | 0 | 0 | 0 | 70 | 0 | 42.6787 | 0
ES40_30MW | 23 | 209.243 | 279.243 | 79.895 | 0 | 0 | 0 | 70 | 0 | 107.1787 | 0
ES40_30MW | 24 | 201.816 | 271.816 | 66.0665 | 0 | 0 | 0 | 70 | 0 | 171.6787 | 0
ES40_30MW | 25 | 187.931 | 222.1577 | 0.88509 | 0 | 0 | 0 | 40 | 5.7733 | 236.1787 | 0
ES40_30MW | 26 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 266.1016 | 0
ES40_30MW | 27 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 280 | 0
ES40_30MW | 28 | 203.442 | 147.7279 | 0 | 0 | 15.7141 | 0 | 0 | 40 | 262.2269 | 16.4055
ES40_30MW | 29 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 217.7825 | 0
ES40_30MW | 30 | 228.286 | 207.7801 | 0 | 0 | 20.5059 | 0 | 0 | 0 | 161.0701 | 21.4082
ES40_30MW | 31 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 161.0701 | 0
ES40_30MW | 32 | 261.693 | 231.815 | 0 | 0 | 8.1933 | 0 | 0 | 21.6848 | 145.4365 | 8.5538
ES40_30MW | 33 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 0 | 36.0173 | 122.6104 | 0
ES40_30MW | 34 | 296.791 | 260.743 | 0 | 0 | 35 | 0 | 0 | 1.048 | 82.5912 | 36.54
ES40_30MW | 35 | 312.694 | 254.6036 | 0 | 0 | 28.0904 | 0 | 0 | 30 | 81.488 | 29.3264
ES40_30MW | 36 | 323.518 | 264.1594 | 0 | 0 | 29.3586 | 0 | 0 | 30 | 49.9091 | 30.6503
ES40_30MW | 37 | 325.926 | 284.0431 | 0 | 0 | 35 | 0 | 0 | 6.8829 | 18.3301 | 36.54
ES40_30MW | 38 | 324.676 | 301.0148 | 0 | 0 | 23.6612 | 0 | 0 | 0 | 10.6825 | 24.7023
ES40_30MW | 39 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 10.6825 | 0
ES40_30MW | 40 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 18.1515 | 0
ES40_30MW | 41 | 299.926 | 286.4861 | 0 | 0 | 13.4399 | 0 | 0 | 0 | 39.3896 | 14.0313
ES40_30MW | 42 | 289.475 | 244.8696 | 0 | 0 | 7.5758 | 0 | 0 | 37.0295 | 39.3896 | 7.9091
ES40_30MW | 43 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES40_30MW | 44 | 261.485 | 331.485 | 21.4262 | 0 | 0 | 0 | 70 | 0 | 16.6231 | 0
ES40_30MW | 45 | 239.581 | 229.581 | 139.4758 | 0 | 0 | 0 | 30 | 40 | 81.1231 | 0
ES40_30MW | 46 | 223.138 | 275.1946 | 103.5306 | 0 | 0 | 0 | 52.0566 | 0 | 65.1787 | 0
ES40_30MW | 47 | 209.243 | 273.5022 | 85.6358 | 0 | 0 | 0 | 64.2592 | 0 | 112.6325 | 0
ES40_30MW | 48 | 201.816 | 271.816 | 66.0665 | 0 | 0 | 0 | 70 | 0 | 171.6787 | 0
ES40_30MW | 49 | 187.931 | 222.1577 | 0.88509 | 0 | 0 | 0 | 40 | 5.7733 | 236.1787 | 0
ES40_30MW | 50 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 266.1016 | 0
ES40_30MW | 51 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 280 | 0
ES40_30MW | 52 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 0 | 55.7141 | 261.2395 | 0
ES40_30MW | 53 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 200.2539 | 0
ES40_30MW | 54 | 228.286 | 207.7801 | 0 | 0 | 20.5059 | 0 | 0 | 0 | 143.5416 | 21.4082
ES40_30MW | 55 | 243.328 | 229.2577 | 0 | 0 | 14.0703 | 0 | 0 | 0 | 143.5416 | 14.6893
ES40_30MW | 56 | 261.693 | 231.815 | 0 | 0 | 4.2639 | 0 | 0 | 25.6141 | 143.5416 | 4.4516
ES40_30MW | 57 | 280.653 | 244.6357 | 0 | 0 | 35 | 0 | 0 | 1.0173 | 116.5794 | 36.54
ES40_30MW | 58 | 296.791 | 260.743 | 0 | 0 | 35 | 0 | 0 | 1.048 | 115.5085 | 36.54
ES40_30MW | 59 | 312.694 | 254.6036 | 0 | 0 | 28.0904 | 0 | 0 | 30 | 114.344 | 29.3264
ES40_30MW | 60 | 323.518 | 264.1594 | 0 | 0 | 19.3586 | 0 | 0 | 40 | 82.7651 | 20.2103
ES40_30MW | 61 | 325.926 | 284.0431 | 0 | 0 | 11.8829 | 0 | 0 | 30 | 38.3207 | 12.4057
ES40_30MW | 62 | 324.676 | 301.0148 | 0 | 0 | 23.6612 | 0 | 0 | 0 | 6.7417 | 24.7023
ES40_30MW | 63 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 6.7417 | 0
ES40_30MW | 64 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 14.2107 | 0
ES40_30MW | 65 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 35.4488 | 0
ES40_30MW | 66 | 289.475 | 244.8696 | 0 | 0 | 24.706 | 0 | 0 | 19.8993 | 21.3015 | 25.7931
ES40_30MW | 67 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES40_30MW | 68 | 261.485 | 327.063 | 25.8482 | 0 | 0 | 0 | 65.578 | 0 | 17.5466 | 0
ES40_30MW | 69 | 239.581 | 309.581 | 59.4758 | 0 | 0 | 0 | 70 | 0 | 78.0668 | 0
ES40_30MW | 70 | 223.138 | 233.138 | 145.5872 | 0 | 0 | 0 | 40 | 30 | 142.5668 | 0
ES40_30MW | 71 | 209.243 | 158.3487 | 200.7893 | 0 | 0 | 0 | 0 | 50.8943 | 146.9879 | 0
ES40_30MW | 72 | 201.816 | 254.5096 | 83.3729 | 0 | 0 | 0 | 52.6936 | 0 | 91.0757 | 0
ES60_40MW | 1 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 35.1118 | 0 | 200 | 0
ES60_40MW | 2 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 233.3562 | 0
ES60_40MW | 3 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 247.6892 | 0
ES60_40MW | 4 | 203.442 | 147.7279 | 0 | 0 | 35 | 0 | 0 | 20.7141 | 229.135 | 36.54
ES60_40MW | 5 | 215.152 | 163.4975 | 0 | 0 | 4.4609 | 0 | 0 | 47.1936 | 207.3307 | 4.6571
ES60_40MW | 6 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 0 | 20.5059 | 154.8933 | 0
ES60_40MW | 7 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 133.3081 | 0
ES60_40MW | 8 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 118.4973 | 0
ES60_40MW | 9 | 280.653 | 244.6357 | 0 | 0 | 35 | 0 | 0 | 1.0173 | 87.0468 | 36.54
ES60_40MW | 10 | 296.791 | 260.743 | 0 | 0 | 35 | 0 | 0 | 1.048 | 85.9759 | 36.54
ES60_40MW | 11 | 312.694 | 254.6036 | 0 | 0 | 35 | 0 | 0 | 23.0904 | 84.8727 | 36.54
ES60_40MW | 12 | 323.518 | 264.1594 | 0 | 0 | 35 | 0 | 0 | 24.3586 | 59.2167 | 36.54
ES60_40MW | 13 | 325.926 | 284.0431 | 0 | 0 | 35 | 0 | 0 | 6.8829 | 32.1516 | 36.54
ES60_40MW | 14 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 24.9065 | 0
ES60_40MW | 15 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 0 | 0
ES60_40MW | 16 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 7.469 | 0
ES60_40MW | 17 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 28.7071 | 0
ES60_40MW | 18 | 289.475 | 244.8696 | 0 | 0 | 30.7736 | 0 | 0 | 13.8318 | 14.5598 | 32.1276
ES60_40MW | 19 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES60_40MW | 20 | 261.485 | 352.9112 | 5.6843e-14 | 0 | 0 | 0 | 91.4262 | 0 | 16.6231 | 0
ES60_40MW | 21 | 239.581 | 339.581 | 29.4758 | 0 | 0 | 0 | 100 | 0 | 100.478 | 0
ES60_40MW | 22 | 223.138 | 323.138 | 55.5872 | 0 | 0 | 0 | 100 | 0 | 192.478 | 0
ES60_40MW | 23 | 209.243 | 215.2209 | 143.9171 | 0 | 0 | 0 | 40 | 34.0221 | 284.478 | 0
ES60_40MW | 24 | 201.816 | 278.8109 | 59.0716 | 0 | 0 | 0 | 76.9949 | 0 | 284.6756 | 0
ES60_40MW | 25 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 35.1118 | 0 | 354.8208 | 0
ES60_40MW | 26 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 386.4214 | 0
ES60_40MW | 27 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 400 | 0
ES60_40MW | 28 | 203.442 | 147.7279 | 0 | 0 | 35 | 0 | 0 | 20.7141 | 382.2269 | 36.54
ES60_40MW | 29 | 215.152 | 163.4975 | 0 | 0 | 35 | 0 | 0 | 16.6545 | 360.4226 | 36.54
ES60_40MW | 30 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 0 | 20.5059 | 342.8916 | 0
ES60_40MW | 31 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 320.1072 | 0
ES60_40MW | 32 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 304.4736 | 0
ES60_40MW | 33 | 280.653 | 244.6357 | 0 | 0 | 1.5392 | 0 | 0 | 34.4782 | 271.2758 | 1.6069
ES60_40MW | 34 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 232.9667 | 0
ES60_40MW | 35 | 312.694 | 254.6036 | 0 | 0 | 35 | 0 | 0 | 23.0904 | 192.9133 | 36.54
ES60_40MW | 36 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 167.2573 | 0
ES60_40MW | 37 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 103.6425 | 0
ES60_40MW | 38 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 58.355 | 0
ES60_40MW | 39 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 33.4485 | 0
ES60_40MW | 40 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 40.9175 | 0
ES60_40MW | 41 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 62.1556 | 0
ES60_40MW | 42 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0 | 44.6054 | 47.2223 | 0
ES60_40MW | 43 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES60_40MW | 44 | 261.485 | 352.9082 | 0.0029364 | 0 | 0 | 0 | 91.4232 | 0 | 16.6231 | 0
ES60_40MW | 45 | 239.581 | 245.5589 | 123.4979 | 0 | 0 | 0 | 40 | 34.0221 | 100.4752 | 0
ES60_40MW | 46 | 223.138 | 300.1358 | 78.5894 | 0 | 0 | 0 | 76.9978 | 0 | 100.6728 | 0
ES60_40MW | 47 | 209.243 | 309.243 | 49.895 | 0 | 0 | 0 | 100 | 0 | 170.8208 | 0
ES60_40MW | 48 | 201.816 | 301.816 | 36.0665 | 0 | 0 | 0 | 100 | 0 | 262.8208 | 0
ES60_40MW | 49 | 187.931 | 223.0428 | 2.8422e-14 | 0 | 0 | 0 | 35.1118 | 0 | 354.8208 | 0
ES60_40MW | 50 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 386.4214 | 0
ES60_40MW | 51 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 400 | 0
ES60_40MW | 52 | 203.442 | 147.7279 | 0 | 0 | 35 | 0 | 0 | 20.7141 | 382.2269 | 36.54
ES60_40MW | 53 | 215.152 | 163.4975 | 0 | 0 | 11.6545 | 0 | 0 | 40 | 359.2113 | 12.1673
ES60_40MW | 54 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 0 | 20.5059 | 317.106 | 0
ES60_40MW | 55 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 295.5208 | 0
ES60_40MW | 56 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 280.71 | 0
ES60_40MW | 57 | 280.653 | 244.6357 | 0 | 0 | 5.5261 | 0 | 0 | 30.4912 | 247.5122 | 5.7693
ES60_40MW | 58 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 213.6331 | 0
ES60_40MW | 59 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 0 | 58.0904 | 174.7808 | 0
ES60_40MW | 60 | 323.518 | 264.1594 | 0 | 0 | 19.3586 | 0 | 0 | 40 | 110.2359 | 20.2103
ES60_40MW | 61 | 325.926 | 284.0431 | 0 | 0 | 35 | 0 | 0 | 6.8829 | 68.1307 | 36.54
ES60_40MW | 62 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 60.483 | 0
ES60_40MW | 63 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 34.1929 | 0
ES60_40MW | 64 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 41.6619 | 0
ES60_40MW | 65 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 62.8999 | 0
ES60_40MW | 66 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0 | 44.6054 | 48.7526 | 0
ES60_40MW | 67 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES60_40MW | 68 | 261.485 | 352.9112 | 5.6843e-14 | 0 | 0 | 0 | 91.4262 | 0 | 17.5466 | 0
ES60_40MW | 69 | 239.581 | 268.1697 | 100.8871 | 0 | 0 | 0 | 60 | 31.4113 | 101.8302 | 0
ES60_40MW | 70 | 223.138 | 299.1192 | 79.606 | 0 | 0 | 0 | 75.9812 | 0 | 122.7657 | 0
ES60_40MW | 71 | 209.243 | 131.685 | 227.453 | 0 | 0 | 0 | 0 | 77.558 | 193.1488 | 0
ES60_40MW | 72 | 201.816 | 301.816 | 36.0665 | 0 | 0 | 0 | 100 | 0 | 108 | 0
ES80_60MW | 1 | 187.931 | 223.0428 | 6.2996e-15 | 0 | 35 | 0 | 70.1118 | 0 | 280 | 36.54
ES80_60MW | 2 | 187.196 | 202.2833 | 0 | 0 | 35 | 0 | 50.0873 | 0 | 346.1007 | 36.54
ES80_60MW | 3 | 192.123 | 175.2386 | 0 | 0 | 35 | 0 | 18.1156 | 0 | 393.6836 | 36.54
ES80_60MW | 4 | 203.442 | 147.7279 | 1.4211e-14 | 0 | 40.9356 | 0 | 0 | 14.7785 | 410.799 | 42.7368
ES80_60MW | 5 | 215.152 | 163.4975 | 0 | 0 | 35 | 0 | 0 | 16.6545 | 395.2427 | 36.54
ES80_60MW | 6 | 228.286 | 207.7801 | 7.1054e-15 | 0 | 0 | 0 | 0 | 20.5059 | 376.7377 | 0
ES80_60MW | 7 | 243.328 | 229.2577 | 1.0658e-14 | 0 | 0 | 0 | 0 | 14.0703 | 353.9534 | 0
ES80_60MW | 8 | 261.693 | 231.815 | 1.7764e-14 | 0 | 0 | 0 | 0 | 29.878 | 338.3198 | 0
ES80_60MW | 9 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 0 | 36.0173 | 305.1219 | 0
ES80_60MW | 10 | 296.791 | 260.743 | 7.1054e-15 | 0 | 0 | 0 | 0 | 36.048 | 265.1027 | 0
ES80_60MW | 11 | 312.694 | 254.6036 | 1.7764e-14 | 0 | 0 | 0 | 0 | 58.0904 | 227.1574 | 0
ES80_60MW | 12 | 323.518 | 264.1594 | 3.5527e-15 | 0 | 0 | 0 | 0 | 59.3586 | 165.6693 | 0
ES80_60MW | 13 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 103.1866 | 0
ES80_60MW | 14 | 324.676 | 301.0148 | 1.4211e-14 | 0 | 0 | 0 | 0 | 23.6612 | 59.0993 | 0
ES80_60MW | 15 | 318.456 | 326.3181 | 2.8422e-14 | 0 | 0 | 0 | 7.8621 | 0 | 34.1929 | 0
ES80_60MW | 16 | 309.453 | 331.8089 | 2.1316e-14 | 0 | 0 | 0 | 22.3559 | 0 | 41.6619 | 0
ES80_60MW | 17 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 62.8999 | 0
ES80_60MW | 18 | 289.475 | 244.8696 | 1.4211e-14 | 0 | 0 | 0 | 0 | 44.6054 | 47.9667 | 0
ES80_60MW | 19 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES80_60MW | 20 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 16.6231 | 0
ES80_60MW | 21 | 239.581 | 276.9214 | 92.1354 | 0 | 0 | 0 | 60 | 22.6596 | 99.478 | 0
ES80_60MW | 22 | 223.138 | 363.138 | 15.5872 | 0 | 0 | 0 | 140 | 0 | 131.3007 | 0
ES80_60MW | 23 | 209.243 | 349.243 | 9.895 | 0 | 0 | 0 | 140 | 0 | 260.3007 | 0
ES80_60MW | 24 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 389.3007 | 0
ES80_60MW | 25 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 35.1118 | 0 | 514.5638 | 0
ES80_60MW | 26 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 546.1645 | 0
ES80_60MW | 27 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 560 | 0
ES80_60MW | 28 | 203.442 | 147.7279 | 1.4211e-14 | 0 | 0 | 0 | 0 | 55.7141 | 541.2395 | 0
ES80_60MW | 29 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 479.335 | 0
ES80_60MW | 30 | 228.286 | 207.7801 | 1.0658e-14 | 0 | 0 | 0 | 39.4941 | 60 | 421.9411 | 0
ES80_60MW | 31 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 45.9297 | 60 | 394.3279 | 0
ES80_60MW | 32 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 30.122 | 60 | 372.5067 | 0
ES80_60MW | 33 | 280.653 | 244.6357 | 1.0658e-14 | 0 | 0 | 0 | 25.9419 | 61.9592 | 336.4586 | 0
ES80_60MW | 34 | 296.791 | 260.743 | 2.1316e-14 | 0 | 0 | 0 | 0 | 36.048 | 292.2598 | 0
ES80_60MW | 35 | 312.694 | 254.6036 | 1.4211e-14 | 0 | 0 | 0 | 0 | 58.0904 | 252.2065 | 0
ES80_60MW | 36 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 187.6616 | 0
ES80_60MW | 37 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 121.7076 | 0
ES80_60MW | 38 | 324.676 | 301.0148 | 4.2633e-14 | 0 | 0 | 0 | 26.243 | 49.9042 | 75.1711 | 0
ES80_60MW | 39 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 24.5513 | 16.6892 | 46.2591 | 0
ES80_60MW | 40 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 66.0218 | 43.6659 | 51.0393 | 0
ES80_60MW | 41 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 64.4948 | 0
ES80_60MW | 42 | 289.475 | 244.8696 | 1.5987e-14 | 0 | 0 | 0 | 0 | 44.6054 | 49.5615 | 0
ES80_60MW | 43 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES80_60MW | 44 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 16.8801 | 0
ES80_60MW | 45 | 239.581 | 276.9214 | 92.1354 | 0 | 0 | 0 | 60 | 22.6596 | 99.7349 | 0
ES80_60MW | 46 | 223.138 | 363.138 | 15.5872 | 0 | 0 | 0 | 140 | 0 | 131.5576 | 0
ES80_60MW | 47 | 209.243 | 349.243 | 9.895 | 0 | 0 | 0 | 140 | 0 | 260.5576 | 0
ES80_60MW | 48 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 389.5576 | 0
ES80_60MW | 49 | 187.931 | 223.0428 | 6.3949e-14 | 0 | 0 | 0 | 35.1118 | 0 | 514.8208 | 0
ES80_60MW | 50 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 546.4214 | 0
ES80_60MW | 51 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 560 | 0
ES80_60MW | 52 | 203.442 | 147.7279 | 7.1054e-15 | 0 | 0 | 0 | 0 | 55.7141 | 541.2395 | 0
ES80_60MW | 53 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 479.335 | 0
ES80_60MW | 54 | 228.286 | 207.7801 | 3.5527e-15 | 0 | 0 | 0 | 39.4941 | 60 | 421.9411 | 0
ES80_60MW | 55 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 45.9297 | 60 | 394.3279 | 0
ES80_60MW | 56 | 261.693 | 231.815 | 1.7764e-14 | 0 | 0 | 0 | 30.122 | 60 | 372.5067 | 0
ES80_60MW | 57 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 0 | 36.0173 | 336.4586 | 0
ES80_60MW | 58 | 296.791 | 260.743 | 1.4211e-14 | 0 | 0 | 0 | 0 | 36.048 | 296.4394 | 0
ES80_60MW | 59 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 21.9096 | 80 | 256.386 | 0
ES80_60MW | 60 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 188.3112 | 0
ES80_60MW | 61 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 122.3573 | 0
ES80_60MW | 62 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 36.3388 | 60 | 75.8207 | 0
ES80_60MW | 63 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 28.5836 | 20.7215 | 45.3678 | 0
ES80_60MW | 64 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 55.926 | 33.5701 | 49.4983 | 0
ES80_60MW | 65 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 64.4948 | 0
ES80_60MW | 66 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0 | 44.6054 | 49.5615 | 0
ES80_60MW | 67 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES80_60MW | 68 | 261.485 | 324.8157 | 28.0955 | 0 | 0 | 0 | 80 | 16.6693 | 17.5466 | 0
ES80_60MW | 69 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 72 | 0
ES80_60MW | 70 | 223.138 | 203.138 | 175.5872 | 0 | 0 | 0 | 60 | 80 | 191.5282 | 0
ES80_60MW | 71 | 209.243 | 316.3104 | 42.8276 | 0 | 0 | 0 | 107.0674 | 0 | 159.6393 | 0
ES80_60MW | 72 | 201.816 | 233.366 | 104.5165 | 0 | 0 | 0 | 80 | 48.45 | 259 | 0
ES100_80MW | 1 | 187.931 | 223.0428 | 0 | 0 | 35 | 0 | 70.1118 | 0 | 360 | 36.54
ES100_80MW | 2 | 187.196 | 202.2833 | 0 | 0 | 35 | 0 | 50.0873 | 0 | 426.6062 | 36.54
ES100_80MW | 3 | 192.123 | 175.2386 | 0 | 0 | 35.9149 | 0 | 19.0305 | 0 | 474.1892 | 37.4951
ES100_80MW | 4 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 0 | 55.7141 | 492.2681 | 0
ES100_80MW | 5 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 430.7497 | 0
ES100_80MW | 6 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 0 | 20.5059 | 376.3766 | 0
ES100_80MW | 7 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 354.7914 | 0
ES100_80MW | 8 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 339.9806 | 0
ES100_80MW | 9 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 0 | 36.0173 | 308.53 | 0
ES100_80MW | 10 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 270.6171 | 0
ES100_80MW | 11 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 0 | 58.0904 | 232.6718 | 0
ES100_80MW | 12 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 168.1269 | 0
ES100_80MW | 13 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 102.1729 | 0
ES100_80MW | 14 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 58.0857 | 0
ES100_80MW | 15 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 33.1792 | 0
ES100_80MW | 16 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 40.6482 | 0
ES100_80MW | 17 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 61.8863 | 0
ES100_80MW | 18 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0 | 44.6054 | 46.953 | 0
ES100_80MW | 19 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES100_80MW | 20 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 16.6231 | 0
ES100_80MW | 21 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 98.9067 | 0
ES100_80MW | 22 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 216.9087 | 0
ES100_80MW | 23 | 209.243 | 359.138 | 0 | 0 | 0 | 0 | 149.895 | 0 | 360.9372 | 0
ES100_80MW | 24 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 499.8426 | 0
ES100_80MW | 25 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 80 | 44.8882 | 624.6525 | 0
ES100_80MW | 26 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 55.4175 | 40.3302 | 650.7768 | 0
ES100_80MW | 27 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 65.053 | 81.9374 | 658.1997 | 0
ES100_80MW | 28 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 24.2859 | 80 | 628.9584 | 0
ES100_80MW | 29 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 48.3455 | 100 | 566.6052 | 0
ES100_80MW | 30 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 56.6891 | 77.195 | 501.4224 | 0
ES100_80MW | 31 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 65.6436 | 79.7138 | 471.1846 | 0
ES100_80MW | 32 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 50.122 | 80 | 446.3546 | 0
ES100_80MW | 33 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 63.9827 | 100 | 407.2538 | 0
ES100_80MW | 34 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 43.6304 | 79.6784 | 356.9262 | 0
ES100_80MW | 35 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 41.9096 | 100 | 312.3216 | 0
ES100_80MW | 36 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 40.6414 | 100 | 241.0245 | 0
ES100_80MW | 37 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 33.6259 | 75.5087 | 168.5228 | 0
ES100_80MW | 38 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 76.3388 | 100 | 119.3032 | 0
ES100_80MW | 39 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 40.8745 | 33.0124 | 80.714 | 0
ES100_80MW | 40 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 66.0218 | 43.6659 | 82.7512 | 0
ES100_80MW | 41 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 73.146 | 86.586 | 96.2066 | 0
ES100_80MW | 42 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 21.4089 | 66.0143 | 69.4887 | 0
ES100_80MW | 43 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 35.8114 | 17.3412 | 19.2681 | 0
ES100_80MW | 44 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 34.0208 | 0
ES100_80MW | 45 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 117.4328 | 0
ES100_80MW | 46 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 235.4348 | 0
ES100_80MW | 47 | 209.243 | 359.138 | 0 | 0 | 0 | 0 | 149.895 | 0 | 379.4633 | 0
ES100_80MW | 48 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 516.8635 | 0
ES100_80MW | 49 | 187.931 | 195.4075 | 27.6353 | 0 | 0 | 0 | 80 | 72.5235 | 641.1267 | 0
ES100_80MW | 50 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 89.5352 | 74.4479 | 636.545 | 0
ES100_80MW | 51 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 80 | 96.8844 | 638.7605 | 0
ES100_80MW | 52 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 24.2859 | 80 | 607.1111 | 0
ES100_80MW | 53 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 48.3455 | 100 | 544.7579 | 0
ES100_80MW | 54 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 59.4941 | 80 | 479.5751 | 0
ES100_80MW | 55 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 65.6436 | 79.7138 | 448.9092 | 0
ES100_80MW | 56 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 50.122 | 80 | 424.0791 | 0
ES100_80MW | 57 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 63.9827 | 100 | 384.9784 | 0
ES100_80MW | 58 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 43.6304 | 79.6784 | 334.6508 | 0
ES100_80MW | 59 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 41.9096 | 100 | 290.0461 | 0
ES100_80MW | 60 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 40.6414 | 100 | 218.7491 | 0
ES100_80MW | 61 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 33.6259 | 75.5087 | 146.2474 | 0
ES100_80MW | 62 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 63.6638 | 87.325 | 97.0278 | 0
ES100_80MW | 63 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 57.3693 | 49.5072 | 60.4806 | 0
ES100_80MW | 64 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 68.825 | 46.4691 | 60.0002 | 0
ES100_80MW | 65 | 299.926 | 286.4861 | 5.6843e-14 | 0 | 0 | 0 | 51.4054 | 64.8453 | 73.7516 | 0
ES100_80MW | 66 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0 | 44.6054 | 51.7582 | 0
ES100_80MW | 67 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 20.7218 | 2.2517 | 2.5019 | 0
ES100_80MW | 68 | 261.485 | 352.9112 | 1.1369e-13 | 0 | 0 | 0 | 100 | 8.5738 | 19.6857 | 0
ES100_80MW | 69 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 100.6606 | 0
ES100_80MW | 70 | 223.138 | 378.7252 | 5.6843e-14 | 0 | 0 | 0 | 155.5872 | 0 | 220.158 | 0
ES100_80MW | 71 | 209.243 | 189.243 | 169.895 | 0 | 0 | 0 | 80 | 100 | 364.1865 | 0
ES100_80MW | 72 | 201.816 | 245.6943 | 92.1881 | 0 | 0 | 0 | 100 | 56.1217 | 329.0754 | 0
ES110_90MW | 1 | 187.931 | 223.0428 | 0 | 0 | 31.7417 | 0 | 66.8536 | 0 | 400 | 33.1384
ES110_90MW | 2 | 187.196 | 202.2833 | 0 | 0 | 35 | 0 | 50.0873 | 0 | 463.5109 | 36.54
ES110_90MW | 3 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 511.0938 | 0
ES110_90MW | 4 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 0 | 55.7141 | 493.3208 | 0
ES110_90MW | 5 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 434.6744 | 0
ES110_90MW | 6 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 0 | 20.5059 | 380.0661 | 0
ES110_90MW | 7 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 357.2817 | 0
ES110_90MW | 8 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 342.4709 | 0
ES110_90MW | 9 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 0 | 36.0173 | 309.2731 | 0
ES110_90MW | 10 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 269.2539 | 0
ES110_90MW | 11 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 0 | 58.0904 | 229.2005 | 0
ES110_90MW | 12 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 164.6556 | 0
ES110_90MW | 13 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 102.1729 | 0
ES110_90MW | 14 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 58.0857 | 0
ES110_90MW | 15 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 33.1792 | 0
ES110_90MW | 16 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 40.6482 | 0
ES110_90MW | 17 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 61.8863 | 0
ES110_90MW | 18 | 289.475 | 244.8696 | 1.5987e-14 | 0 | 0 | 0 | 0 | 44.6054 | 46.953 | 0
ES110_90MW | 19 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES110_90MW | 20 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 17.4529 | 0
ES110_90MW | 21 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 99.7364 | 0
ES110_90MW | 22 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 217.2384 | 0
ES110_90MW | 23 | 209.243 | 359.138 | 0 | 0 | 0 | 0 | 149.895 | 0 | 361.7669 | 0
ES110_90MW | 24 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 498.6671 | 0
ES110_90MW | 25 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 90 | 54.8882 | 622.4303 | 0
ES110_90MW | 26 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 67.7632 | 52.6758 | 646.9434 | 0
ES110_90MW | 27 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 90 | 106.8844 | 652.482 | 0
ES110_90MW | 28 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 6.9366 | 62.6507 | 619.2215 | 0
ES110_90MW | 29 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 58.3455 | 110 | 556.1994 | 0
ES110_90MW | 30 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 65.7761 | 86.282 | 489.4054 | 0
ES110_90MW | 31 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 65.6436 | 79.7138 | 457.7807 | 0
ES110_90MW | 32 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 54.2024 | 84.0805 | 432.9507 | 0
ES110_90MW | 33 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 47.2165 | 83.2338 | 393.2271 | 0
ES110_90MW | 34 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 348.1074 | 0
ES110_90MW | 35 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 51.9096 | 110 | 308.054 | 0
ES110_90MW | 36 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 34.1136 | 93.4721 | 235.1459 | 0
ES110_90MW | 37 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 0 | 41.8829 | 163.6959 | 0
ES110_90MW | 38 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 117.1594 | 0
ES110_90MW | 39 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 50.5219 | 42.6598 | 90.8692 | 0
ES110_90MW | 40 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 66.0218 | 43.6659 | 91.4338 | 0
ES110_90MW | 41 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 80.9605 | 94.4004 | 104.8893 | 0
ES110_90MW | 42 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 28.4615 | 73.0668 | 76.9124 | 0
ES110_90MW | 43 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 41.5239 | 23.0538 | 25.6153 | 0
ES110_90MW | 44 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 39.4477 | 0
ES110_90MW | 45 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 121.7313 | 0
ES110_90MW | 46 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 239.2333 | 0
ES110_90MW | 47 | 209.243 | 359.138 | 0 | 0 | 0 | 0 | 149.895 | 0 | 381.5411 | 0
ES110_90MW | 48 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 520.5682 | 0
ES110_90MW | 49 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 90 | 54.8882 | 644.3314 | 0
ES110_90MW | 50 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 67.7632 | 52.6758 | 668.8445 | 0
ES110_90MW | 51 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 90 | 106.8844 | 674.3831 | 0
ES110_90MW | 52 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 34.2859 | 90 | 641.1226 | 0
ES110_90MW | 53 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 58.3455 | 110 | 577.2431 | 0
ES110_90MW | 54 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 65.7761 | 86.282 | 510.4491 | 0
ES110_90MW | 55 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 65.6436 | 79.7138 | 478.8244 | 0
ES110_90MW | 56 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 54.2024 | 84.0805 | 453.9943 | 0
ES110_90MW | 57 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 70.0376 | 106.055 | 414.2708 | 0
ES110_90MW | 58 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 43.6304 | 79.6784 | 362.9677 | 0
ES110_90MW | 59 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 35.6733 | 93.7637 | 318.363 | 0
ES110_90MW | 60 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 50.6414 | 110 | 248.0707 | 0
ES110_90MW | 61 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 33.6259 | 75.5087 | 173.9579 | 0
ES110_90MW | 62 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 86.3388 | 110 | 124.7383 | 0
ES110_90MW | 63 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 57.3693 | 49.5072 | 84.538 | 0
ES110_90MW | 64 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 53.1597 | 30.8039 | 84.0575 | 0
ES110_90MW | 65 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 76.0886 | 89.5285 | 99.4761 | 0
ES110_90MW | 66 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 24.0646 | 68.67 | 72.2842 | 0
ES110_90MW | 67 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 37.9625 | 19.4923 | 21.6581 | 0
ES110_90MW | 68 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 109.6574 | 18.2312 | 36.0643 | 0
ES110_90MW | 69 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 115.5652 | 0
ES110_90MW | 70 | 223.138 | 378.7252 | 1.9433e-14 | 0 | 0 | 0 | 155.5872 | 0 | 233.8171 | 0
ES110_90MW | 71 | 209.243 | 189.243 | 169.895 | 0 | 0 | 0 | 90 | 110 | 378.3456 | 0
ES110_90MW | 72 | 201.816 | 273.2238 | 64.6587 | 0 | 0 | 0 | 110 | 38.5922 | 341.6234 | 0
ES130_110MW | 1 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 35.1118 | 0 | 480 | 0
ES130_110MW | 2 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 15.0873 | 0 | 511.6007 | 0
ES130_110MW | 3 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 0 | 16.8844 | 525.1792 | 0
ES130_110MW | 4 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 0 | 55.7141 | 506.4188 | 0
ES130_110MW | 5 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 0 | 51.6545 | 444.5142 | 0
ES130_110MW | 6 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 0 | 20.5059 | 387.1203 | 0
ES130_110MW | 7 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 0 | 14.0703 | 364.336 | 0
ES130_110MW | 8 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 0 | 29.878 | 348.7024 | 0
ES130_110MW | 9 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 0 | 36.0173 | 317.2518 | 0
ES130_110MW | 10 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 279.3388 | 0
ES130_110MW | 11 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 0 | 58.0904 | 239.2855 | 0
ES130_110MW | 12 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 174.7405 | 0
ES130_110MW | 13 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 33.3 | 75.1828 | 112.2578 | 0
ES130_110MW | 14 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 63.088 | 0
ES130_110MW | 15 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 7.8621 | 0 | 37.2986 | 0
ES130_110MW | 16 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 22.3559 | 0 | 44.3745 | 0
ES130_110MW | 17 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 64.4948 | 0
ES130_110MW | 18 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0 | 44.6054 | 49.5615 | 0
ES130_110MW | 19 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0 | 0
ES130_110MW | 20 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 16.6231 | 0
ES130_110MW | 21 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 98.9067 | 0
ES130_110MW | 22 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 218.0146 | 0
ES130_110MW | 23 | 209.243 | 359.138 | 0 | 0 | 0 | 0 | 149.895 | 0 | 359.3225 | 0
ES130_110MW | 24 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 495.2227 | 0
ES130_110MW | 25 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 110 | 74.8882 | 617.9858 | 0
ES130_110MW | 26 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 91.3277 | 76.2404 | 639.2768 | 0
ES130_110MW | 27 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 110 | 126.8844 | 641.2187 | 0
ES130_110MW | 28 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 74.2859 | 130 | 604.7359 | 0
ES130_110MW | 29 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 56.3667 | 108.0212 | 530.8631 | 0
ES130_110MW | 30 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 65.7761 | 86.282 | 464.3879 | 0
ES130_110MW | 31 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 65.6436 | 79.7138 | 432.7632 | 0
ES130_110MW | 32 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 54.2024 | 84.0805 | 407.9332 | 0
ES130_110MW | 33 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 47.2165 | 83.2338 | 368.2096 | 0
ES130_110MW | 34 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 0 | 36.048 | 323.0899 | 0
ES130_110MW | 35 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 0 | 58.0904 | 283.0365 | 0
ES130_110MW | 36 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 0 | 59.3586 | 218.4916 | 0
ES130_110MW | 37 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 71.7399 | 113.6227 | 152.5377 | 0
ES130_110MW | 38 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 0 | 23.6612 | 94.4431 | 0
ES130_110MW | 39 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 28.9414 | 21.0793 | 68.1529 | 0
ES130_110MW | 40 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 66.0218 | 43.6659 | 72.0114 | 0
ES130_110MW | 41 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 0 | 13.4399 | 85.4669 | 0
ES130_110MW | 42 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 18.8749 | 63.4803 | 70.5336 | 0
ES130_110MW | 43 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 17.9312 | 0
ES130_110MW | 44 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 34.5543 | 0
ES130_110MW | 45 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 119.4175 | 0
ES130_110MW | 46 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 235.9458 | 0
ES130_110MW | 47 | 209.243 | 359.138 | 0 | 0 | 0 | 0 | 149.895 | 0 | 377.2536 | 0
ES130_110MW | 48 | 201.816 | 337.8825 | 0 | 0 | 0 | 0 | 136.0665 | 0 | 513.1538 | 0
ES130_110MW | 49 | 187.931 | 223.0428 | 0 | 0 | 0 | 0 | 110 | 74.8882 | 635.917 | 0
ES130_110MW | 50 | 187.196 | 202.2833 | 0 | 0 | 0 | 0 | 91.3277 | 76.2404 | 657.2079 | 0
ES130_110MW | 51 | 192.123 | 175.2386 | 0 | 0 | 0 | 0 | 110 | 126.8844 | 659.1498 | 0
ES130_110MW | 52 | 203.442 | 147.7279 | 0 | 0 | 0 | 0 | 49.7013 | 105.4154 | 622.6671 | 0
ES130_110MW | 53 | 215.152 | 163.4975 | 0 | 0 | 0 | 0 | 78.3455 | 130 | 552.7551 | 0
ES130_110MW | 54 | 228.286 | 207.7801 | 0 | 0 | 0 | 0 | 65.7761 | 86.282 | 482.7389 | 0
ES130_110MW | 55 | 243.328 | 229.2577 | 0 | 0 | 0 | 0 | 65.6436 | 79.7138 | 451.1142 | 0
ES130_110MW | 56 | 261.693 | 231.815 | 0 | 0 | 0 | 0 | 54.2024 | 84.0805 | 426.2841 | 0
ES130_110MW | 57 | 280.653 | 244.6357 | 0 | 0 | 0 | 0 | 47.2165 | 83.2338 | 386.5606 | 0
ES130_110MW | 58 | 296.791 | 260.743 | 0 | 0 | 0 | 0 | 93.952 | 130 | 341.4409 | 0
ES130_110MW | 59 | 312.694 | 254.6036 | 0 | 0 | 0 | 0 | 29.6293 | 87.7197 | 286.2508 | 0
ES130_110MW | 60 | 323.518 | 264.1594 | 0 | 0 | 0 | 0 | 70.6414 | 130 | 220.5806 | 0
ES130_110MW | 61 | 325.926 | 284.0431 | 0 | 0 | 0 | 0 | 33.6259 | 75.5087 | 143.2456 | 0
ES130_110MW | 62 | 324.676 | 301.0148 | 0 | 0 | 0 | 0 | 54.8556 | 78.5168 | 94.026 | 0
ES130_110MW | 63 | 318.456 | 326.3181 | 0 | 0 | 0 | 0 | 57.3693 | 49.5072 | 58.8979 | 0
ES130_110MW | 64 | 309.453 | 331.8089 | 0 | 0 | 0 | 0 | 71.8508 | 49.4949 | 58.4175 | 0
ES130_110MW | 65 | 299.926 | 286.4861 | 0 | 0 | 0 | 0 | 51.4054 | 64.8453 | 71.6814 | 0
ES130_110MW | 66 | 289.475 | 244.8696 | 0 | 0 | 0 | 0 | 0.11381 | 44.7192 | 49.688 | 0
ES130_110MW | 67 | 281.212 | 299.6821 | 0 | 0 | 0 | 0 | 18.4701 | 0 | 0.10812 | 0
ES130_110MW | 68 | 261.485 | 352.9112 | 0 | 0 | 0 | 0 | 91.4262 | 0 | 16.7312 | 0
ES130_110MW | 69 | 239.581 | 369.0568 | 0 | 0 | 0 | 0 | 129.4758 | 0 | 102.8139 | 0
ES130_110MW | 70 | 223.138 | 378.7252 | 0 | 0 | 0 | 0 | 155.5872 | 0 | 219.3422 | 0
ES130_110MW | 71 | 209.243 | 359.138 | 5.6843e-14 | 0 | 0 | 0 | 149.895 | 0 | 360.65 | 0
ES130_110MW | 72 | 201.816 | 202.8708 | 135.0117 | 0 | 0 | 0 | 110 | 108.9452 | 496.5502 | 0

## SOC
scenario | hour | ES1_SOC_MWh | ES2_SOC_MWh
ES0_0MW | 0 | 0 | 0
ES0_0MW | 1 | 0 | 0
ES0_0MW | 2 | 0 | 0
ES0_0MW | 3 | 0 | 0
ES0_0MW | 4 | 0 | 0
ES0_0MW | 5 | 0 | 0
ES0_0MW | 6 | 0 | 0
ES0_0MW | 7 | 0 | 0
ES0_0MW | 8 | 0 | 0
ES0_0MW | 9 | 0 | 0
ES0_0MW | 10 | 0 | 0
ES0_0MW | 11 | 0 | 0
ES0_0MW | 12 | 0 | 0
ES0_0MW | 13 | 0 | 0
ES0_0MW | 14 | 0 | 0
ES0_0MW | 15 | 0 | 0
ES0_0MW | 16 | 0 | 0
ES0_0MW | 17 | 0 | 0
ES0_0MW | 18 | 0 | 0
ES0_0MW | 19 | 0 | 0
ES0_0MW | 20 | 0 | 0
ES0_0MW | 21 | 0 | 0
ES0_0MW | 22 | 0 | 0
ES0_0MW | 23 | 0 | 0
ES0_0MW | 24 | 0 | 0
ES0_0MW | 25 | 0 | 0
ES0_0MW | 26 | 0 | 0
ES0_0MW | 27 | 0 | 0
ES0_0MW | 28 | 0 | 0
ES0_0MW | 29 | 0 | 0
ES0_0MW | 30 | 0 | 0
ES0_0MW | 31 | 0 | 0
ES0_0MW | 32 | 0 | 0
ES0_0MW | 33 | 0 | 0
ES0_0MW | 34 | 0 | 0
ES0_0MW | 35 | 0 | 0
ES0_0MW | 36 | 0 | 0
ES0_0MW | 37 | 0 | 0
ES0_0MW | 38 | 0 | 0
ES0_0MW | 39 | 0 | 0
ES0_0MW | 40 | 0 | 0
ES0_0MW | 41 | 0 | 0
ES0_0MW | 42 | 0 | 0
ES0_0MW | 43 | 0 | 0
ES0_0MW | 44 | 0 | 0
ES0_0MW | 45 | 0 | 0
ES0_0MW | 46 | 0 | 0
ES0_0MW | 47 | 0 | 0
ES0_0MW | 48 | 0 | 0
ES0_0MW | 49 | 0 | 0
ES0_0MW | 50 | 0 | 0
ES0_0MW | 51 | 0 | 0
ES0_0MW | 52 | 0 | 0
ES0_0MW | 53 | 0 | 0
ES0_0MW | 54 | 0 | 0
ES0_0MW | 55 | 0 | 0
ES0_0MW | 56 | 0 | 0
ES0_0MW | 57 | 0 | 0
ES0_0MW | 58 | 0 | 0
ES0_0MW | 59 | 0 | 0
ES0_0MW | 60 | 0 | 0
ES0_0MW | 61 | 0 | 0
ES0_0MW | 62 | 0 | 0
ES0_0MW | 63 | 0 | 0
ES0_0MW | 64 | 0 | 0
ES0_0MW | 65 | 0 | 0
ES0_0MW | 66 | 0 | 0
ES0_0MW | 67 | 0 | 0
ES0_0MW | 68 | 0 | 0
ES0_0MW | 69 | 0 | 0
ES0_0MW | 70 | 0 | 0
ES0_0MW | 71 | 0 | 0
ES0_0MW | 72 | 0 | 0
ES40_30MW | 0 | 80 | 60
ES40_30MW | 1 | 84.6007 | 88.5
ES40_30MW | 2 | 84.6007 | 102.833
ES40_30MW | 3 | 84.6007 | 102.833
ES40_30MW | 4 | 61.8887 | 102.5453
ES40_30MW | 5 | 61.8887 | 85.0142
ES40_30MW | 6 | 61.8887 | 77.8403
ES40_30MW | 7 | 61.8887 | 63.0295
ES40_30MW | 8 | 61.8887 | 31.5789
ES40_30MW | 9 | 60.7583 | 31.5789
ES40_30MW | 10 | 59.5938 | 31.5789
ES40_30MW | 11 | 33.9378 | 31.5789
ES40_30MW | 12 | 33.9378 | 0
ES40_30MW | 13 | 26.2902 | 0
ES40_30MW | 14 | 0 | 0
ES40_30MW | 15 | 0 | 7.469
ES40_30MW | 16 | 0 | 28.7071
ES40_30MW | 17 | 0 | 14.5598
ES40_30MW | 18 | 0 | 0
ES40_30MW | 19 | 16.6231 | 0
ES40_30MW | 20 | 52.6231 | 28.5
ES40_30MW | 21 | 8.1787 | 34.5
ES40_30MW | 22 | 44.1787 | 63
ES40_30MW | 23 | 80.1787 | 91.5
ES40_30MW | 24 | 116.1787 | 120
ES40_30MW | 25 | 152.1787 | 113.9229
ES40_30MW | 26 | 160 | 120
ES40_30MW | 27 | 160 | 102.2269
ES40_30MW | 28 | 115.5556 | 102.2269
ES40_30MW | 29 | 71.1111 | 89.959
ES40_30MW | 30 | 71.1111 | 89.959
ES40_30MW | 31 | 55.4775 | 89.959
ES40_30MW | 32 | 55.4775 | 67.133
ES40_30MW | 33 | 15.4582 | 67.133
ES40_30MW | 34 | 15.4582 | 66.0298
ES40_30MW | 35 | 15.4582 | 34.4508
ES40_30MW | 36 | 15.4582 | 2.8719
ES40_30MW | 37 | 7.8106 | 2.8719
ES40_30MW | 38 | 7.8106 | 2.8719
ES40_30MW | 39 | 7.8106 | 10.3409
ES40_30MW | 40 | 7.8106 | 31.5789
ES40_30MW | 41 | 7.8106 | 31.5789
ES40_30MW | 42 | 0 | 0
ES40_30MW | 43 | 16.6231 | 0
ES40_30MW | 44 | 52.6231 | 28.5
ES40_30MW | 45 | 8.1787 | 57
ES40_30MW | 46 | 44.1787 | 68.4538
ES40_30MW | 47 | 80.1787 | 91.5
ES40_30MW | 48 | 116.1787 | 120
ES40_30MW | 49 | 152.1787 | 113.9229
ES40_30MW | 50 | 160 | 120
ES40_30MW | 51 | 141.2395 | 120
ES40_30MW | 52 | 96.7951 | 103.4589
ES40_30MW | 53 | 52.3506 | 91.191
ES40_30MW | 54 | 52.3506 | 91.191
ES40_30MW | 55 | 52.3506 | 91.191
ES40_30MW | 56 | 52.3506 | 64.2288
ES40_30MW | 57 | 52.3506 | 63.1579
ES40_30MW | 58 | 51.1862 | 63.1579
ES40_30MW | 59 | 51.1862 | 31.5789
ES40_30MW | 60 | 6.7417 | 31.5789
ES40_30MW | 61 | 6.7417 | 0
ES40_30MW | 62 | 6.7417 | 0
ES40_30MW | 63 | 6.7417 | 7.469
ES40_30MW | 64 | 6.7417 | 28.7071
ES40_30MW | 65 | 6.7417 | 14.5598
ES40_30MW | 66 | 0 | 0
ES40_30MW | 67 | 0 | 17.5466
ES40_30MW | 68 | 32.0202 | 46.0466
ES40_30MW | 69 | 68.0202 | 74.5466
ES40_30MW | 70 | 104.0202 | 42.9677
ES40_30MW | 71 | 59.5757 | 31.5
ES40_30MW | 72 | 80 | 60
ES60_40MW | 0 | 120 | 80
ES60_40MW | 1 | 120 | 113.3562
ES60_40MW | 2 | 120 | 127.6892
ES60_40MW | 3 | 105.1585 | 123.9765
ES60_40MW | 4 | 105.1585 | 102.1722
ES60_40MW | 5 | 52.7211 | 102.1722
ES60_40MW | 6 | 52.7211 | 80.587
ES60_40MW | 7 | 52.7211 | 65.7762
ES60_40MW | 8 | 52.7211 | 34.3257
ES60_40MW | 9 | 52.7211 | 33.2548
ES60_40MW | 10 | 52.7211 | 32.1516
ES60_40MW | 11 | 27.0651 | 32.1516
ES60_40MW | 12 | 0 | 32.1516
ES60_40MW | 13 | 0 | 24.9065
ES60_40MW | 14 | 0 | 0
ES60_40MW | 15 | 0 | 7.469
ES60_40MW | 16 | 0 | 28.7071
ES60_40MW | 17 | 0 | 14.5598
ES60_40MW | 18 | 0 | 0
ES60_40MW | 19 | 16.6231 | 0
ES60_40MW | 20 | 70.6231 | 29.8549
ES60_40MW | 21 | 124.6231 | 67.8549
ES60_40MW | 22 | 178.6231 | 105.8549
ES60_40MW | 23 | 140.8208 | 143.8549
ES60_40MW | 24 | 194.8208 | 160
ES60_40MW | 25 | 226.4214 | 160
ES60_40MW | 26 | 240 | 160
ES60_40MW | 27 | 240 | 142.2269
ES60_40MW | 28 | 240 | 120.4226
ES60_40MW | 29 | 240 | 102.8916
ES60_40MW | 30 | 217.2156 | 102.8916
ES60_40MW | 31 | 201.582 | 102.8916
ES60_40MW | 32 | 168.3842 | 102.8916
ES60_40MW | 33 | 130.0751 | 102.8916
ES60_40MW | 34 | 90.0218 | 102.8916
ES60_40MW | 35 | 64.3657 | 102.8916
ES60_40MW | 36 | 42.8562 | 60.7863
ES60_40MW | 37 | 20.0503 | 38.3047
ES60_40MW | 38 | 20.0503 | 13.3982
ES60_40MW | 39 | 20.0503 | 20.8672
ES60_40MW | 40 | 20.0503 | 42.1053
ES60_40MW | 41 | 5.1171 | 42.1053
ES60_40MW | 42 | 0 | 0
ES60_40MW | 43 | 16.6231 | 0
ES60_40MW | 44 | 70.6231 | 29.8521
ES60_40MW | 45 | 32.8208 | 67.8521
ES60_40MW | 46 | 86.8208 | 84
ES60_40MW | 47 | 140.8208 | 122
ES60_40MW | 48 | 194.8208 | 160
ES60_40MW | 49 | 226.4214 | 160
ES60_40MW | 50 | 240 | 160
ES60_40MW | 51 | 240 | 142.2269
ES60_40MW | 52 | 216.9843 | 142.2269
ES60_40MW | 53 | 216.9843 | 100.1217
ES60_40MW | 54 | 216.9843 | 78.5365
ES60_40MW | 55 | 216.9843 | 63.7257
ES60_40MW | 56 | 183.7865 | 63.7257
ES60_40MW | 57 | 149.9074 | 63.7257
ES60_40MW | 58 | 132.6756 | 42.1053
ES60_40MW | 59 | 68.1307 | 42.1053
ES60_40MW | 60 | 68.1307 | 0
ES60_40MW | 61 | 60.483 | 0
ES60_40MW | 62 | 34.1929 | 0
ES60_40MW | 63 | 34.1929 | 7.469
ES60_40MW | 64 | 34.1929 | 28.7071
ES60_40MW | 65 | 34.1929 | 14.5598
ES60_40MW | 66 | 0 | 0
ES60_40MW | 67 | 0 | 17.5466
ES60_40MW | 68 | 46.2835 | 55.5466
ES60_40MW | 69 | 100.2835 | 22.4821
ES60_40MW | 70 | 132.6667 | 60.4821
ES60_40MW | 71 | 66 | 42
ES60_40MW | 72 | 120 | 80
ES80_60MW | 0 | 160 | 120
ES80_60MW | 1 | 169.1007 | 177
ES80_60MW | 2 | 169.1007 | 224.583
ES80_60MW | 3 | 170.799 | 240
ES80_60MW | 4 | 170.799 | 224.4437
ES80_60MW | 5 | 152.294 | 224.4437
ES80_60MW | 6 | 129.5097 | 224.4437
ES80_60MW | 7 | 113.8761 | 224.4437
ES80_60MW | 8 | 80.6783 | 224.4437
ES80_60MW | 9 | 40.659 | 224.4437
ES80_60MW | 10 | 40.659 | 186.4984
ES80_60MW | 11 | 34.1929 | 131.4764
ES80_60MW | 12 | 34.1929 | 68.9937
ES80_60MW | 13 | 34.1929 | 24.9065
ES80_60MW | 14 | 34.1929 | 0
ES80_60MW | 15 | 34.1929 | 7.469
ES80_60MW | 16 | 34.1929 | 28.7071
ES80_60MW | 17 | 19.2596 | 28.7071
ES80_60MW | 18 | 0 | 0
ES80_60MW | 19 | 16.6231 | 0
ES80_60MW | 20 | 88.6231 | 10.8549
ES80_60MW | 21 | 63.4458 | 67.8549
ES80_60MW | 22 | 135.4458 | 124.8549
ES80_60MW | 23 | 207.4458 | 181.8549
ES80_60MW | 24 | 279.4458 | 235.118
ES80_60MW | 25 | 311.0465 | 235.118
ES80_60MW | 26 | 320 | 240
ES80_60MW | 27 | 301.2395 | 240
ES80_60MW | 28 | 239.335 | 240
ES80_60MW | 29 | 181.9411 | 240
ES80_60MW | 30 | 217.4858 | 176.8421
ES80_60MW | 31 | 258.8225 | 113.6842
ES80_60MW | 32 | 285.9323 | 50.5263
ES80_60MW | 33 | 217.0887 | 75.1711
ES80_60MW | 34 | 177.0354 | 75.1711
ES80_60MW | 35 | 112.4905 | 75.1711
ES80_60MW | 36 | 46.5365 | 75.1711
ES80_60MW | 37 | 0 | 75.1711
ES80_60MW | 38 | 23.6187 | 22.6404
ES80_60MW | 39 | 5.0752 | 45.9641
ES80_60MW | 40 | 64.4948 | 0
ES80_60MW | 41 | 49.5615 | 0
ES80_60MW | 42 | 0 | 0
ES80_60MW | 43 | 11.9981 | 4.882
ES80_60MW | 44 | 83.9981 | 15.7368
ES80_60MW | 45 | 58.8208 | 72.7368
ES80_60MW | 46 | 130.8208 | 129.7368
ES80_60MW | 47 | 202.8208 | 186.7368
ES80_60MW | 48 | 274.8208 | 240
ES80_60MW | 49 | 306.4214 | 240
ES80_60MW | 50 | 320 | 240
ES80_60MW | 51 | 301.2395 | 240
ES80_60MW | 52 | 239.335 | 240
ES80_60MW | 53 | 181.9411 | 240
ES80_60MW | 54 | 217.4858 | 176.8421
ES80_60MW | 55 | 258.8225 | 113.6842
ES80_60MW | 56 | 285.9323 | 50.5263
ES80_60MW | 57 | 245.9131 | 50.5263
ES80_60MW | 58 | 205.8597 | 50.5263
ES80_60MW | 59 | 116.9708 | 71.3404
ES80_60MW | 60 | 51.0168 | 71.3404
ES80_60MW | 61 | 4.4803 | 71.3404
ES80_60MW | 62 | 37.1853 | 8.1825
ES80_60MW | 63 | 14.1614 | 35.3369
ES80_60MW | 64 | 64.4948 | 0
ES80_60MW | 65 | 49.5615 | 0
ES80_60MW | 66 | 0 | 0
ES80_60MW | 67 | 0 | 17.5466
ES80_60MW | 68 | 72 | 0
ES80_60MW | 69 | 134.5282 | 57
ES80_60MW | 70 | 45.6393 | 114
ES80_60MW | 71 | 88 | 171
ES80_60MW | 72 | 160 | 120
ES100_80MW | 0 | 200 | 160
ES100_80MW | 1 | 200 | 226.6062
ES100_80MW | 2 | 200 | 274.1892
ES100_80MW | 3 | 200 | 292.2681
ES100_80MW | 4 | 145.4321 | 285.3176
ES100_80MW | 5 | 145.4321 | 230.9445
ES100_80MW | 6 | 145.4321 | 209.3593
ES100_80MW | 7 | 145.4321 | 194.5485
ES100_80MW | 8 | 145.4321 | 163.0979
ES100_80MW | 9 | 145.4321 | 125.1849
ES100_80MW | 10 | 145.4321 | 87.2396
ES100_80MW | 11 | 80.8872 | 87.2396
ES100_80MW | 12 | 14.9333 | 87.2396
ES100_80MW | 13 | 14.9333 | 43.1524
ES100_80MW | 14 | 14.9333 | 18.2459
ES100_80MW | 15 | 14.9333 | 25.7149
ES100_80MW | 16 | 14.9333 | 46.953
ES100_80MW | 17 | 0 | 46.953
ES100_80MW | 18 | 0 | 0
ES100_80MW | 19 | 16.6231 | 0
ES100_80MW | 20 | 98.9067 | 0
ES100_80MW | 21 | 188.9067 | 28.002
ES100_80MW | 22 | 256.9352 | 104.002
ES100_80MW | 23 | 319.8406 | 180.002
ES100_80MW | 24 | 400 | 224.6525
ES100_80MW | 25 | 350.1243 | 300.6525
ES100_80MW | 26 | 400 | 258.1997
ES100_80MW | 27 | 308.9584 | 320
ES100_80MW | 28 | 330.8158 | 235.7895
ES100_80MW | 29 | 219.7047 | 281.7177
ES100_80MW | 30 | 270.7248 | 200.4598
ES100_80MW | 31 | 329.804 | 116.5505
ES100_80MW | 32 | 374.9138 | 32.34
ES100_80MW | 33 | 263.8027 | 93.1235
ES100_80MW | 34 | 303.07 | 9.2515
ES100_80MW | 35 | 191.9589 | 49.0656
ES100_80MW | 36 | 80.8478 | 87.675
ES100_80MW | 37 | 111.1111 | 8.1921
ES100_80MW | 38 | 0 | 80.714
ES100_80MW | 39 | 36.787 | 45.9641
ES100_80MW | 40 | 96.2066 | 0
ES100_80MW | 41 | 0 | 69.4887
ES100_80MW | 42 | 19.2681 | 0
ES100_80MW | 43 | 0 | 34.0208
ES100_80MW | 44 | 61.9715 | 55.4613
ES100_80MW | 45 | 151.9715 | 83.4633
ES100_80MW | 46 | 220 | 159.4633
ES100_80MW | 47 | 310 | 206.8635
ES100_80MW | 48 | 400 | 241.1267
ES100_80MW | 49 | 319.4183 | 317.1267
ES100_80MW | 50 | 400 | 238.7605
ES100_80MW | 51 | 292.3506 | 314.7605
ES100_80MW | 52 | 314.208 | 230.55
ES100_80MW | 53 | 203.0968 | 276.4782
ES100_80MW | 54 | 256.6415 | 192.2677
ES100_80MW | 55 | 315.7207 | 108.3584
ES100_80MW | 56 | 360.8305 | 24.1479
ES100_80MW | 57 | 249.7194 | 84.9314
ES100_80MW | 58 | 288.9867 | 1.0594
ES100_80MW | 59 | 177.8756 | 40.8735
ES100_80MW | 60 | 66.7645 | 79.4829
ES100_80MW | 61 | 97.0278 | 0
ES100_80MW | 62 | 0 | 60.4806
ES100_80MW | 63 | 51.6324 | 8.3678
ES100_80MW | 64 | 0 | 73.7516
ES100_80MW | 65 | 46.2648 | 5.4933
ES100_80MW | 66 | 2.5019 | 0
ES100_80MW | 67 | 0 | 19.6857
ES100_80MW | 68 | 90 | 10.6606
ES100_80MW | 69 | 153.0826 | 67.0754
ES100_80MW | 70 | 221.1111 | 143.0754
ES100_80MW | 71 | 110 | 219.0754
ES100_80MW | 72 | 200 | 160
ES110_90MW | 0 | 220 | 180
ES110_90MW | 1 | 220 | 243.5109
ES110_90MW | 2 | 220 | 291.0938
ES110_90MW | 3 | 220 | 273.3208
ES110_90MW | 4 | 220 | 214.6744
ES110_90MW | 5 | 215.533 | 164.5331
ES110_90MW | 6 | 192.7486 | 164.5331
ES110_90MW | 7 | 192.7486 | 149.7223
ES110_90MW | 8 | 159.5508 | 149.7223
ES110_90MW | 9 | 119.5315 | 149.7223
ES110_90MW | 10 | 79.4782 | 149.7223
ES110_90MW | 11 | 14.9333 | 149.7223
ES110_90MW | 12 | 14.9333 | 87.2396
ES110_90MW | 13 | 14.9333 | 43.1524
ES110_90MW | 14 | 14.9333 | 18.2459
ES110_90MW | 15 | 14.9333 | 25.7149
ES110_90MW | 16 | 14.9333 | 46.953
ES110_90MW | 17 | 0 | 46.953
ES110_90MW | 18 | 0 | 0
ES110_90MW | 19 | 1.688 | 15.7649
ES110_90MW | 20 | 83.9715 | 15.7649
ES110_90MW | 21 | 182.9715 | 34.2669
ES110_90MW | 22 | 242 | 119.7669
ES110_90MW | 23 | 341 | 157.6671
ES110_90MW | 24 | 440 | 182.4303
ES110_90MW | 25 | 379.0131 | 267.9303
ES110_90MW | 26 | 440 | 212.482
ES110_90MW | 27 | 321.2395 | 297.982
ES110_90MW | 28 | 251.6277 | 304.5718
ES110_90MW | 29 | 129.4054 | 360
ES110_90MW | 30 | 188.6039 | 269.1768
ES110_90MW | 31 | 247.6831 | 185.2675
ES110_90MW | 32 | 296.4653 | 96.7618
ES110_90MW | 33 | 338.9602 | 9.1472
ES110_90MW | 34 | 298.9068 | 9.1472
ES110_90MW | 35 | 176.6846 | 58.4613
ES110_90MW | 36 | 72.8267 | 90.8692
ES110_90MW | 37 | 26.2902 | 90.8692
ES110_90MW | 38 | 0 | 90.8692
ES110_90MW | 39 | 45.4697 | 45.9641
ES110_90MW | 40 | 104.8893 | 0
ES110_90MW | 41 | 0 | 76.9124
ES110_90MW | 42 | 25.6153 | 0
ES110_90MW | 43 | 0 | 39.4477
ES110_90MW | 44 | 82.2835 | 39.4477
ES110_90MW | 45 | 181.2835 | 57.9497
ES110_90MW | 46 | 280.2835 | 101.2576
ES110_90MW | 47 | 341 | 179.5682
ES110_90MW | 48 | 440 | 204.3314
ES110_90MW | 49 | 379.0131 | 289.8314
ES110_90MW | 50 | 440 | 234.3831
ES110_90MW | 51 | 321.2395 | 319.8831
ES110_90MW | 52 | 352.0968 | 225.1463
ES110_90MW | 53 | 229.8746 | 280.5745
ES110_90MW | 54 | 289.0731 | 189.7513
ES110_90MW | 55 | 348.1523 | 105.842
ES110_90MW | 56 | 396.9345 | 17.3363
ES110_90MW | 57 | 279.0957 | 83.872
ES110_90MW | 58 | 318.363 | 0
ES110_90MW | 59 | 214.1811 | 33.8896
ES110_90MW | 60 | 91.9589 | 81.999
ES110_90MW | 61 | 122.2222 | 2.5161
ES110_90MW | 62 | 0 | 84.538
ES110_90MW | 63 | 51.6324 | 32.4251
ES110_90MW | 64 | 99.4761 | 0
ES110_90MW | 65 | 0 | 72.2842
ES110_90MW | 66 | 21.6581 | 0
ES110_90MW | 67 | 0 | 36.0643
ES110_90MW | 68 | 98.6916 | 16.8736
ES110_90MW | 69 | 184.1937 | 49.6234
ES110_90MW | 70 | 243.2222 | 135.1234
ES110_90MW | 71 | 121 | 220.6234
ES110_90MW | 72 | 220 | 180
ES130_110MW | 0 | 260 | 220
ES130_110MW | 1 | 291.6007 | 220
ES130_110MW | 2 | 305.1792 | 220
ES130_110MW | 3 | 286.4188 | 220
ES130_110MW | 4 | 224.5142 | 220
ES130_110MW | 5 | 167.1203 | 220
ES130_110MW | 6 | 144.336 | 220
ES130_110MW | 7 | 128.7024 | 220
ES130_110MW | 8 | 128.7024 | 188.5494
ES130_110MW | 9 | 128.7024 | 150.6365
ES130_110MW | 10 | 88.649 | 150.6365
ES130_110MW | 11 | 24.1041 | 150.6365
ES130_110MW | 12 | 24.1041 | 88.1538
ES130_110MW | 13 | 54.074 | 9.014
ES130_110MW | 14 | 37.2986 | 0
ES130_110MW | 15 | 44.3745 | 0
ES130_110MW | 16 | 64.4948 | 0
ES130_110MW | 17 | 49.5615 | 0
ES130_110MW | 18 | 0 | 0
ES130_110MW | 19 | 16.6231 | 0
ES130_110MW | 20 | 98.9067 | 0
ES130_110MW | 21 | 169 | 49.0146
ES130_110MW | 22 | 286 | 73.3225
ES130_110MW | 23 | 403 | 92.2227
ES130_110MW | 24 | 520 | 97.9858
ES130_110MW | 25 | 436.7909 | 202.4858
ES130_110MW | 26 | 518.9858 | 122.2328
ES130_110MW | 27 | 378.0031 | 226.7328
ES130_110MW | 28 | 233.5587 | 297.3044
ES130_110MW | 29 | 113.5351 | 350.8528
ES130_110MW | 30 | 172.7337 | 260.0296
ES130_110MW | 31 | 231.8129 | 176.1203
ES130_110MW | 32 | 280.595 | 87.6146
ES130_110MW | 33 | 323.0899 | 0
ES130_110MW | 34 | 283.0365 | 0
ES130_110MW | 35 | 218.4916 | 0
ES130_110MW | 36 | 152.5377 | 0
ES130_110MW | 37 | 26.2902 | 68.1529
ES130_110MW | 38 | 0 | 68.1529
ES130_110MW | 39 | 26.0473 | 45.9641
ES130_110MW | 40 | 85.4669 | 0
ES130_110MW | 41 | 70.5336 | 0
ES130_110MW | 42 | 0 | 17.9312
ES130_110MW | 43 | 16.6231 | 17.9312
ES130_110MW | 44 | 52.4718 | 66.9458
ES130_110MW | 45 | 169 | 66.9458
ES130_110MW | 46 | 286 | 91.2536
ES130_110MW | 47 | 403 | 110.1538
ES130_110MW | 48 | 520 | 115.917
ES130_110MW | 49 | 436.7909 | 220.417
ES130_110MW | 50 | 518.9858 | 140.164
ES130_110MW | 51 | 378.0031 | 244.664
ES130_110MW | 52 | 260.8749 | 291.8802
ES130_110MW | 53 | 116.4305 | 366.3085
ES130_110MW | 54 | 175.629 | 275.4853
ES130_110MW | 55 | 234.7082 | 191.576
ES130_110MW | 56 | 283.4904 | 103.0702
ES130_110MW | 57 | 325.9852 | 15.4557
ES130_110MW | 58 | 181.5408 | 104.71
ES130_110MW | 59 | 208.2071 | 12.3735
ES130_110MW | 60 | 63.7627 | 79.4829
ES130_110MW | 61 | 94.026 | 0
ES130_110MW | 62 | 6.7851 | 52.1129
ES130_110MW | 63 | 58.4175 | 0
ES130_110MW | 64 | 3.4231 | 68.2582
ES130_110MW | 65 | 49.688 | 0
ES130_110MW | 66 | 0 | 0.10812
ES130_110MW | 67 | 16.6231 | 0.10812
ES130_110MW | 68 | 30.522 | 72.2919
ES130_110MW | 69 | 147.0502 | 72.2919
ES130_110MW | 70 | 264.0502 | 96.5998
ES130_110MW | 71 | 381.0502 | 115.5
ES130_110MW | 72 | 260 | 220